# Assessment Requirements for UETDRAI002 Inspect poles, hardware and electrical apparatus

Release: 1

Assessment Requirements for UETDRAI002 Inspect poles, hardware and electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and industry and workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) safe approach distances identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) visually inspecting poles, hardware and electrical apparatus identifying pole, hardware and electrical apparatus defects using software applications or workplace documents for: accessing and verifying existing data capturing or recording data categorising and recording defects dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances visual inspection requirements hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE safe use of plant and equipment events constituting an unplanned event or incident procedures for responding to an unplanned event or incident poles, including: types characteristics defects hardware, including: types characteristics defects electrical apparatus, including: types characteristics defects electricity networks, including: construction types identification of low voltage (LV) identification of high voltage (HV) clearances for overhead conductors, cables and structures vegetation clearance profiles identification and categorisation of defects procedures for recording inspection results software applications and/or data capturing documentation.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry for inspecting poles, hardware and electrical apparatus applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7