# UETDRDS016 Coordinate and perform line and easement surveys

Release: 1

UETDRDS016 Coordinate and perform line and easement surveys

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit includes the skills and knowledge required to coordinate and perform line and easement surveys in the electricity supply industry (ESI). It includes types, functionality and maintenance of specialist tools, and fundamentals of buried services and other infrastructure. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDRDS028 Prepare and manage construction plans for electrical infrastructure UETDREL005 Work safely in the vicinity of live electrical apparatus

# Competency Field

Design

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to coordinate and perform line and easement surveys | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be done are reviewed and determined |
|  |  | 1.2 | Purpose of the line and easement survey is established and expected outcomes of the work are confirmed with appropriate personnel |
|  |  | 1.3 | Work plan is obtained and confirmed in accordance with workplace requirements |
|  |  | 1.4 | Plant, tools, equipment and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.5 | Work is prioritised and sequenced for completion in accordance with work plan and workplace requirements |
|  |  | 1.6 | Hazards are identified, risks assessed, and control measures identified and applied |
|  |  | 1.7 | Work permits are determined in accordance with workplace requirements |
|  |  | 1.8 | Liaison and communication issues with authorised personnel, authorities and clients are resolved to perform work, as required |
|  |  | 1.9 | Worksite is prepared in accordance with the work plan and workplace requirements |
| 2 | Coordinate and perform line and easement surveys | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Line and easement surveys are coordinated and performed in accordance with workplace requirements |
|  |  | 2.3 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.4 | Quality checks of work are undertaken in accordance with work plan and workplace requirements |
|  |  | 2.5 | Work roles and tasks are allocated according to individual competencies and workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 3.2 | Work records, reports and documentation are completed, and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETDRDS013 Organise and implement ESI line and easement surveys.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7