# Assessment Requirements for UETDRDS024 Draft and layout overhead distribution extension

Release: 1

Assessment Requirements for UETDRDS024 Draft and layout overhead distribution extension

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

drafting and laying out an overhead distribution extension, including: specifications requirements for site inspection sustainable energy principles and practices compliance against legislation, regulations, standards and codes of practice, project and workplace requirements identifying, minimising or eliminating health and safety risks by using safety and control measures applying environmental sustainability principles obtaining, inspecting and using relevant personal protective equipment (PPE) for site inspection prioritising and sequencing work for completion in accordance with workplace requirements drafting and laying out at least two (2) of the following: low voltage (LV) single phase distribution extension LV multi-phase distribution extension high voltage (HV) single phase distribution extension HV multi-phase distribution extension performing at least one (1) site inspection performing ongoing quality checks of work in accordance with workplace requirements checking final design against project and workplace requirements maintaining work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

overhead distribution extension, draft and layout, including: project requirements design specifications hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE site inspections prioritisation and sequencing of work for completion application of environmental sustainability principles and practices application of sustainable energy principles and practices compliance with legislation, regulations, standards, codes of practice, and project and workplace requirements work records, reports and documentation manuals, diagrams and drawings principles of surveying principles of computer-aided drafting principles and installation procedures of overhead distribution conductors principles and installation procedures of poles and structures, and associated hardware.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry to draft and layout an overhead distribution extension applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7