# UETDRDS026 Draft and layout underground distribution extension

Release: 1

UETDRDS026 Draft and layout underground distribution extension

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit includes the skills and knowledge required to draft and layout underground distribution extensions in the electricity supply industry (ESI). It includes principles and installation procedures of underground cables and associated infrastructure. It also includes use of manuals, system diagrams, plans and drawings, fundamentals of surveying and computer-aided drafting. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL005 Work safely in the vicinity of live electrical apparatus

# Competency Field

Design

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to draft and layout underground distribution extension | 1.1 | Project requirements are determined |
|  |  | 1.2 | Draft and layout specifications are determined in accordance with workplace requirements |
|  |  | 1.3 | Tools, equipment and personal protective equipment (PPE) required for site inspections are determined, obtained and confirmed in working order |
|  |  | 1.4 | Requirements for site inspections are determined in accordance with workplace requirements |
|  |  | 1.5 | Work is prioritised and sequenced for completion in accordance with workplace requirements |
| 2 | Draft and layout underground distribution extension | 2.1 | Site inspection is performed |
|  |  | 2.2 | Underground distribution extension is drafted and laid out in accordance with workplace requirements |
|  |  | 2.3 | Sustainable energy principles are used to evaluate and determine best outcomes in accordance with workplace requirements |
|  |  | 2.4 | Environmental sustainability principles are used to evaluate and determine best outcomes in accordance with workplace requirements |
|  |  | 2.5 | Draft and layout are checked for compliance against legislation, regulations, standards and codes of practice |
|  |  | 2.6 | Health and safety risks are identified and minimised or eliminated by using safety and control measures in the draft and layout process |
|  |  | 2.7 | Quality checks of work are undertaken in accordance with workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked against project and workplace requirements |
|  |  | 3.2 | Work records, reports and documentation are completed, approved and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETDRDS011 Draft and layout a power system underground distribution extension.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7

Assessment Requirements for UETDRDS026 Draft and layout underground distribution extension

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

drafting and laying out an overhead distribution extension, including: specifications requirements for site inspection applying sustainable energy principles and practices compliance against legislation, regulations, standards and codes of practice, project and workplace requirements identifying, minimising or eliminating health and safety risks by using safety and control measures applying environmental sustainability principles obtaining, inspecting and using relevant personal protective equipment (PPE) for site inspection prioritising and sequencing work for completion in accordance with workplace requirements drafting and laying out all of the following on at least two (2) occasions: low voltage (LV) multi-phase distribution extension high voltage (HV) multi-phase distribution extension performing at least one (1) site inspection performing ongoing quality checks of work in accordance with workplace requirements checking final design against project and workplace requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

underground distribution extension, draft and layout, including: project requirements design specifications hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE site inspections prioritisation and sequencing of work for completion application of environmental sustainability principles and practices application of sustainable energy principles and practices compliance with legislation, regulations, standards, codes of practice, and project and workplace requirements work records, reports and documentation manuals, diagrams and drawings principles of surveying principles of computer-aided drafting principles and installation procedures of underground cables and associated infrastructure.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7