# UETDRDS028 Prepare and manage construction plans for electrical infrastructure

Release: 1

UETDRDS028 Prepare and manage construction plans for electrical infrastructure

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit includes the skills and knowledge required to prepare and manage detailed construction plans for electrical infrastructure in the electricity supply industry (ESI). It includes purpose and requirements of the construction plan, compliance, project and workplace requirements, and health and safety risks. It also includes construction diagrams and drawings, the fundamentals of computer-aided drafting. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL005 Work safely in the vicinity of live electrical apparatus

# Competency Field

Design

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to prepare and manage construction plans for electrical infrastructure | 1.1 | Purpose and requirements of the construction plan are established |
|  |  | 1.2 | Requirements for site inspections are determined in accordance with workplace requirements |
|  |  | 1.3 | Tools, equipment and personal protective equipment (PPE) required for site inspections are determined, obtained and confirmed in working order |
|  |  | 1.4 | Work is prioritised and sequenced for completion in accordance with workplace requirements |
| 2 | Prepare and manage construction plans for electrical infrastructure | 2.1 | Site inspection is performed |
|  |  | 2.2 | Construction plans are prepared and managed in accordance with workplace requirements |
|  |  | 2.3 | Construction plan is checked for compliance against legislation, regulations, standards and codes of practice |
|  |  | 2.4 | Health and safety risks are identified and minimised or eliminated by using safety and control measures in the planning process |
|  |  | 2.5 | Quality checks of work are undertaken in accordance with workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked against project and workplace requirements |
|  |  | 3.2 | Work records, reports and documentation are completed, approved and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETDRDS014 Prepare and manage detailed construction plans for electrical power system infrastructure.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7