# UETDRDU007 Install and maintain underground public lighting

Release: 1

UETDRDU007 Install and maintain underground public lighting

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to install and maintain underground public lighting in the electricity supply industry (ESI). It includes installing poles/columns, hardware, underground cable and control equipment. It also includes testing and commissioning, inspecting and maintaining public lighting. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus

# Competency Field

Distribution Underground

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install and maintain underground public lighting | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Work plan is obtained and confirmed in accordance with workplace requirements |
|  |  | 1.3 | Materials required for work are determined and obtained in accordance with work plan and workplace requirements |
|  |  | 1.4 | Plant, tools, equipment and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.5 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.6 | Work is prioritised and sequenced for completion in accordance with work plan and workplace requirements |
|  |  | 1.7 | Work permits are received and signed in accordance with workplace requirements |
|  |  | 1.8 | Worksite is prepared in accordance with the work plan and workplace requirements |
|  |  | 1.9 | Safety observer role and responsibilities are discussed and confirmed in accordance with workplace requirements |
|  |  | 1.10 | Communication method between the workers and safety observer is determined and confirmed in accordance with workplace requirements |
|  |  | 1.11 | Traffic management plan is confirmed as being in place in accordance with workplace requirements |
| 2 | Carry out installation of underground public lighting | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Lifting, working at heights, the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.4 | Safety observer is positioned to observe the work in accordance with workplace requirements |
|  |  | 2.5 | Communication methods between workers and safety observer are used in accordance with workplace requirements |
|  |  | 2.6 | Excavation/foundation is inspected for compliance with the work plan and workplace requirements |
|  |  | 2.7 | Pole/column, hardware and control equipment is assembled in accordance with the work plan and workplace requirements |
|  |  | 2.8 | Pole/column is erected and stabilised in accordance with the work plan and workplace requirements |
|  |  | 2.9 | Earthing is installed in accordance with the work plan and workplace requirements |
|  |  | 2.10 | Cable is laid and connected at the pole/column connection point and at the pillar |
|  |  | 2.11 | Public lighting is tested and commissioned in accordance with the work plan and workplace requirements |
|  |  | 2.12 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.13 | Quality checks of work are undertaken in accordance with work plan and workplace requirements |
| 3 | Carry out maintenance of underground public lighting | 3.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 3.2 | Lifting, working at heights, and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 3.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 3.4 | Safety observer is positioned to observe the work in accordance with workplace requirements |
|  |  | 3.5 | Communication methods between workers and safety observer are used in accordance with workplace requirements |
|  |  | 3.6 | Public lighting is inspected in accordance with workplace requirements |
|  |  | 3.7 | Public lighting is maintained in accordance with the work plan and workplace requirements |
|  |  | 3.8 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 3.9 | Quality checks of work are undertaken in accordance with work plan and workplace requirements |
| 4 | Complete work and documentation | 4.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 4.2 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 4.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 4.4 | Surplus materials are returned to storage or disposed of in accordance with workplace requirements |
|  |  | 4.5 | Plant, tools and equipment are cleaned, checked and returned to storage in accordance with workplace requirements |
|  |  | 4.6 | Work permits are signed off in accordance with workplace requirements |
|  |  | 4.7 | Work records, reports and documentation are completed in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit. No equivalent unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7

Assessment Requirements for UETDRDU007 Install and maintain underground public lighting

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) safe approach distances identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) determining communication method with safety observer confirming safety observer is in position in accordance with workplace requirements obtaining and signing on and off relevant work permits in accordance with workplace requirements installing public lighting, including: poles/columns cable lanterns/luminaires outreach arms fuses control equipment replacing public lighting poles/columns maintaining public lighting hardware, including replacing any three (3) of the following: luminaires lamps fuses cable control equipment identifying/diagnosing public lighting faults rectifying public lighting faults conducting at least three (3) of the following tests: polarity* voltage continuity insulation resistance neutral identification loop impedance earth resistance (*must do) dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

legislation, regulations, standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances installation and maintenance of public lighting inspection, testing and commissioning of public lighting live low voltage (LV) connection principles hazard, risk assessment and risk control requirements including potential hazards types and application of PPE safe use of plant, tools and equipment application, purpose and types of permits events constituting an unplanned event or incident procedures for responding to an unplanned event or incident safety observer: role and responsibilities communication methods construction manuals, system diagrams/plans and drawings for public lighting basic lighting principles types and function of poles/columns and outreach arms types, function and operation of luminaires/lamps types, function and operation of control equipment controlling and switching of public lighting maintenance of public lighting, including: types of faults and causes repairing and replacing poles/columns, hardware and control equipment cleaning hardware.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry for installing and maintaining underground public lighting. applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7