# Assessment Requirements for UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus

Release: 2

Assessment Requirements for UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus

# Modification History

Release 2. Amended Competency Field Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) determining communication method with safety observer confirming safety observer is in position in accordance with workplace requirements confirming safe approach distances operating equipment while maintaining the safe approach distance operating plant while maintaining the safe approach distance determining electricity network voltages, including: low voltage (LV) high voltages (HV) obtaining and signing on and off relevant work permits in accordance with workplace requirements dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances hazard, risk assessment and risk control requirements, including potential hazards: conductor movements - swing, sag or blow off types and application of PPE safe use of plant and equipment in the vicinity of live electrical apparatus application, purpose and types of permits events constituting an unplanned event or incident procedures for responding to an unplanned event or incident safety observer: role and responsibilities communication methods plant and equipment, including: operating characteristics terminology related to operating in the vicinity of live electrical apparatus hazards and potential hazards communication methods and barriers between plant/equipment operator and safety observer characteristics of overhead and underground electricity networks, including: transmission, distribution and rail layout/configuration components voltage levels.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry for operating plant and equipment in the vicinity of live electrical apparatus applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7