# UETDRIS002 Coordinate power system permit procedures

Release: 1

UETDRIS002 Coordinate power system permit procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit covers the coordination of work procedures that require the issue of electrical permits to work and other permits for working on major parts of the electrical network. It encompasses the analysis and coordination of all work activities planned to be undertaken within more or less the same time timeframe to ensure that the organisation’s work safety and statutory requirements are complied with; the extent of power interruption, and hence inconvenience to customers, is minimised; and the effective utilisation of available resources, both from the organisation and from its contractors to ensure all planned activities are completed in a timely manner to specified standards and requirements. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace subject to regulations for undertaking of electrical work. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

All competencies in the Common Unit Group must have been completed, plus all competencies in one (1) of the identified Pathway Unit Group(s). Common Unit Group UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE104A Solve problems in d.c. circuits UEENEEE105A Fix and secure electrotechnology equipment UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEG101A Solve problems in electromagnetic devices and related circuits UEENEEG102A Solve problems in low voltage a.c. circuits UETDREL005 Work safely in the vicinity of live electrical apparatus Transmission Overhead Pathway Group UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS017 Perform high voltage field switching operation to a given schedule UETDRTO006 Install and maintain transmission conductors UETDRTO007 Install and maintain transmission structures and hardware Distribution Overhead Pathway Group UETDRDO005 Maintain overhead energised low voltage distribution network UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS008 Install and maintain electrical apparatus UETDRIS010 Install and maintain low voltage overhead services UETDRIS012 Install and maintain poles, structures and hardware UETDRIS018 Perform low voltage field switching operation to a given schedule Rail Traction Pathway Group UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS012 Install and maintain poles, structures and hardware UETDRRT002 Install overhead traction components and equipment UETDRRT003 Install rail traction bonds UETDRRT004 Install traction overhead wiring systems UETDRRT009 Maintain overhead traction components and equipment UETDRRT011 Maintain traction overhead wiring systems UETDRRT013 Perform rail traction switching operations to a given schedule Distribution Cable Jointing Pathway Group UETDRDU013 Joint, terminate and maintain high voltage underground polymeric cable UETDRDU015 Joint, terminate and maintain low voltage underground polymeric cable UETDRDU016 Lay power cables UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDRIS008 Install and maintain electrical apparatus UETDRIS011 Install and maintain low voltage underground services UETDRIS018 Perform low voltage field switching operation to a given schedule Electrical Pathway Group UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work UEENEEG006A Solve problems in single and three phase low voltage machines UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits UEENEEG063A Arrange circuits, control and protection for general electrical installations UEENEEG106A Terminate cables, cords and accessories for low voltage circuits UEENEEG108A Trouble-shoot and repair faults in low voltage electrical apparatus and circuits UEENEEG109A Develop and connect electrical control circuits UEENEEK142A Apply environmentally and sustainable procedures in the energy sector UETDRSB001 Perform substation switching operations to a given schedule UETTDRIS67 Solve problems in energy supply network equipment

# Competency Field

Industry Specific Cross Discipline

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare/plan to coordinate permit procedures | 1.1 | Work schedules, including drawings, plans, requirements, established procedures and material lists, are obtained and analysed, as necessary, by site inspection and the extent of the preparation of the work determined for planning and coordination |
|  |  | 1.2 | Work is prioritised and sequenced for the most efficient and effective outcome following consultation with others for completion within acceptable timeframes, to a quality standard and in accordance with established procedures |
|  |  | 1.3 | Relevant requirements and established procedures for the work are communicated to all personnel and identified for all worksites |
|  |  | 1.4 | Hazards are identified, work health and safety (WHS)/occupational health and safety (OHS) risks assessed and control measures prioritised, implemented and monitored, including emergency exits kept clear, to ensure safe systems of work are followed and according to established procedures |
|  |  | 1.5 | Relevant work permits are secured to coordinate the performance of work according to requirements and/or established procedures |
|  |  | 1.6 | Resources, including personnel, equipment, tools and personal protective equipment (PPE), required for the job are identified, scheduled and applied in the coordination of permit procedures according to established procedures |
|  |  | 1.7 | Clients/customers are provided with possible solutions and/or options within the scope, acceptable cost and requirements |
|  |  | 1.8 | Liaison and communication issues with others/authorised personnel, authorities, clients and landowners are resolved and activities coordinated to carry out work |
| 2 | Carry out the coordination of permit procedures | 2.1 | WHS/OHS and sustainable energy principles and practices to reduce the incidents of accidents and minimise waste are monitored and actioned in accordance with requirements and/or established procedures |
|  |  | 2.2 | Hazard warnings and safety signs are recognised and hazards and assessed WHS/OHS risks are reported to immediate authorised personnel for directions according to established procedures |
|  |  | 2.3 | Remedial actions are taken to overcome any shortfalls encountered in the work schedule according to requirements and/or established procedures |
|  |  | 2.4 | Coordination of permit procedures is carried out in accordance with the work schedule and requirements and/or established procedures |
|  |  | 2.5 | Essential knowledge and associated skills are applied in the safe coordination of permit procedures to ensure completion in an agreed timeframe and to quality standards with a minimum of waste according to requirements |
|  |  | 2.6 | Solutions to non-routine problems are identified and actioned using acquired essential knowledge and associated skills according to requirements |
|  |  | 2.7 | Ongoing checks of quality of the work are undertaken in accordance with requirements and established procedures to ensure a quality like outcome is achieved for the client/customer and to a community/industry standard |
| 3 | Complete the coordination of permit procedures | 3.1 | Work undertaken is checked against work schedule for conformance with requirements, anomalies reported and solutions identified in accordance with established procedures |
|  |  | 3.2 | Relevant work permits are signed off and plant is returned to service and client/customer advised in accordance with requirements |
|  |  | 3.3 | Accidents and/or injuries are reported and followed up in accordance with requirements/established procedures |
|  |  | 3.4 | Work completion records, reports, as installed/modified drawings and/or documentation and information are confirmed, processed and appropriate personnel notified |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRIS50 Coordinate power system permit procedures.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7