# Assessment Requirements for UETDRIS013 Install and maintain public lighting systems

Release: 1

Assessment Requirements for UETDRIS013 Install and maintain public lighting systems

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) safe approach distances identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) determining communication method with safety observer confirming safety observer is in position in accordance with workplace requirements installing and maintaining public lighting poles/columns installing and maintaining public lighting hardware, including any three (3) of the following: luminaires photoelectric cells lamps fuses control components brackets conducting at least five (5) of the following tests: voltage current insulation resistance neutral identification polarity loop impedance earth resistance dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances inspection, testing and commissioning of public lighting systems hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE safe use of plant, tools and equipment events constituting an unplanned event or incident procedures for responding to an unplanned event or incident safety observer: role and responsibilities communication methods construction manuals, system diagrams/plans and drawings for public lighting basic public lighting principles types, function and operation of lanterns/luminaires/lamps types, function and operation of control equipment types and function of poles/columns types and function of hardware used for public lighting overhead and underground public lighting systems controlling and switching of public lighting systems methods for the installation of public lighting systems maintenance of public lighting systems, including: fault types and causes cleaning removing, repairing and replacing hardware.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry for installing and maintaining public lighting systems applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7