# Assessment Requirements for UETDRIS018 Perform low voltage field switching operation to a given schedule

Release: 1

Assessment Requirements for UETDRIS018 Perform low voltage field switching operation to a given schedule

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) verifying switching scheduling documents establishing and maintaining communications with the following: switching controller permit holders other network stakeholders obtaining approval to perform low voltage (LV) field switching to a given schedule performing LV field switching operation to a given schedule completing at least two (2) of the following: isolation restoration paralleling performing at least two (2) of the following tests: proved de-energised* voltage current phasing (*must do) operating at least two (2) of the following: LV links LV fuses LV circuit breakers using at least one (1) of the following: short circuiting equipment operating sticks using tags and locks organising, issuing, cancelling or relinquishing relevant work permits/approvals in accordance with workplace requirements dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE safe use of plant, tools and equipment application, purpose and types of permits events constituting an unplanned event or incident procedures for responding to an unplanned event or incident types, characteristics and capabilities of specialised tools and testing equipment purpose, layout and application of switching schedules LV field switching principles and procedures, including: roles and responsibilities procedures for coordination of operations isolation, restoration and paralleling proving de-energised short circuiting pre- and post-switching checks fault finding alternate sources of supply and possible back-feed emergency fault procedures electrical operating/LV network diagrams and characteristics communication procedures danger tag and lockout procedures types, characteristics and capabilities of electrical apparatus used as a LV isolation points.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry for performing low voltage field switching operation to a given schedule applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7