# Assessment Requirements for UETDRMP001 Apply access authority procedures to work on or near electrical apparatus

Release: 1

Assessment Requirements for UETDRMP001 Apply access authority procedures to work on or near electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on one occasion and include:

identifying organisational access authority requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures receiving access authority permit in accordance with workplace requirements confirming roles and responsibilities of the workers with the access authority permit following workplace requirements for signing on and off from an access authority permit.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

access authority codes of practice, guidelines and organisational workplace requirements for work on or near electrical apparatus hazard, risk assessment and risk control requirements organisational access authority procedures including: roles and responsibilities for access authority permit access authority permit for a specific work activity sign on and sign off procedures for an access authority permit cancelling or suspending an access authority permit communication procedures to confirm work is completed or suspended relevant authorisation requirements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: applicable documentation, including workplace requirements used in industry for applying access authority procedures to work on or near electrical apparatus

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7