# Assessment Requirements for UETDRMP002 ESI safety rules for work on, near or in the vicinity of electrical apparatus

Release: 1

Assessment Requirements for UETDRMP002 ESI safety rules for work on, near or in the vicinity of electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on one occasion and include:

identifying relevant electricity supply industry (ESI) safety rules, codes of practice and guidelines identifying organisational workplace requirements for: electrical hazards assessing risks recording control measures identifying organisational safe approach distances (SAD) for: personnel vehicles insulated mobile plant non-insulated mobile plant identifying organisational access authority requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

ESI safety rules, codes of practice and guidelines organisational requirements for: safe approach distances (SAD) safety observer roles hazard, risk assessment and control measures access authority emergency response procedures types and application of personal protective equipment (PPE).

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7