# UETDRMP002 ESI safety rules for work on, near or in the vicinity of electrical apparatus

Release: 1

UETDRMP002 ESI safety rules for work on, near or in the vicinity of electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit covers the knowledge and understanding of electricity supply industry (ESI) safety rules for work on, near or in the vicinity of ESI electrical apparatus. It includes the relevant state and territory safety rules, and organisational workplace requirements and how it applies to ESI workers to meet work health and safety (WHS)/occupational health and safety (OHS), mobility and mutual aid requirements No licensing applies to this unit at the time of publication. Other conditions may also apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Not applicable.

# Competency Field

Mobility and Portability

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify ESI safety rules for work on, near or in the vicinity of ESI electrical apparatus | 1.1 | ESI safety rules, codes of practice and guidelines are identified |
|  |  | 1.2 | Organisational workplace hazard and risk assessment requirements are identified |
|  |  | 1.3 | Organisational workplace access authority requirements are identified |
| 2 | Interpret ESI safety rules for work on, near or in the vicinity of ESI electrical apparatus | 2.1 | ESI safety rules, codes of practice and guidelines application are interpreted |
|  |  | 2.2 | Organisational workplace hazard and risk assessment requirements are interpreted |
|  |  | 2.3 | Organisational workplace access authority requirements are correctly interpreted |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETTDRRF01 Apply ESI safety rules, codes of practice and procedures for work on or near electrical apparatus.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7