# Assessment Requirements for UETDRMP013 Working on energised low voltage underground electrical apparatus

Release: 1

Assessment Requirements for UETDRMP013 Working on energised low voltage underground electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

identifying hazards, assessing risks and applying control measures obtaining, inspecting and using relevant personal protective equipment (PPE) using specialised low voltage (LV) equipment including: insulating mats/sleeves insulating gloves using insulated tools maintaining correct body positioning to avoid secondary points of contact performing work on energised LV underground electrical apparatus in accordance with workplace requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

organisational workplace requirements for work on energised LV underground electrical apparatus including: energised LV work principles and techniques role of safety observer hazard, risk assessment and risk control requirements including potential hazards types and application of PPE specialised LV equipment including: types application care and maintenance inspection and testing.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate tools, equipment and PPE currently used in industry for working on energised LV underground electrical apparatus applicable documentation, including workplace requirements.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7