# UETDRRC005 Maintain, test and verify power systems in a very remote community

Release: 1

UETDRRC005 Maintain, test and verify power systems in a very remote community

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to maintain, test and verify power systems and associated hardware in very remote communities in the electricity supply industry (ESI). It includes working safely, isolating, maintaining and restoring generation power systems, solving problems on distribution electrical network circuits and apparatus, and completing functional testing. It also includes using specialist tools, equipment, personal protective equipment (PPE), visual inspections, identifying non-compliance defects, the use of work permits and authorisation protocols. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may apply under State and Territory legislative and regulatory licensing requirement which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEERE0007 Conduct periodic maintenance of remote area power supply generator sets UEERE0018 Maintain and repair remote area power generation facilities UEERE0019 Maintain safety and tidiness of remote area power supply systems UEERE0023 Work safely with remote area power supply systems UEERE0041 Maintain operation of remote area power generation plant UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus UETDRRC006 Perform low voltage electricity network switching in a very remote community UETDRRC007 Solve problems in electrical network apparatus in a very remote community UETDRRC008 Solve problems in low voltage electrical network circuits in a very remote community

# Competency Field

Remote Community

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to maintain, test and verify power systems | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Work plan is obtained and confirmed in accordance with workplace requirements |
|  |  | 1.3 | Materials required for work are identified and obtained in accordance with work plan and workplace requirements |
|  |  | 1.4 | Work is prioritised and sequenced for completion in accordance with workplace requirements |
|  |  | 1.5 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.6 | Work permits are received and signed in accordance with workplace requirements |
|  |  | 1.7 | Switching/isolation schedule is developed in accordance with work plan and workplace requirements |
|  |  | 1.8 | Plant, tools, equipment and PPE required for work are determined, obtained and confirmed in working order |
|  |  | 1.9 | Specialist test equipment is obtained, confirmed in working order and calibrated in accordance with workplace requirements |
|  |  | 1.10 | Worksite is prepared in accordance with work plan and workplace requirements |
| 2 | Carry out maintenance, testing and verification of generation power systems | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Lifting, climbing, working at heights and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.4 | Generation power system switching/isolation authorisation is obtained in accordance with switching/isolation schedule and workplace requirements |
|  |  | 2.5 | Generation power systems are isolated, proved de-energised and earthed in accordance with switching/isolation schedule and workplace requirements |
|  |  | 2.6 | Generation power systems equipment and associated hardware is maintained in accordance with work plan and workplace requirements |
|  |  | 2.7 | Generation power systems equipment and associated hardware are visually inspected to confirm compliance in accordance with work plan and workplace requirements |
|  |  | 2.8 | Generation power system authorisation is obtained to commence restoration in accordance with switching/isolation schedule and workplace requirements |
|  |  | 2.9 | Generation power systems are tested and verified compliant in accordance with work plan, work permits and workplace requirements |
|  |  | 2.10 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.11 | Quality checks of work are undertaken in accordance with work plan and workplace requirements |
| 3 | Solve electrical network apparatus and network circuit problems | 3.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 3.2 | Lifting, climbing, working at heights and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 3.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 3.4 | Live testing or measuring requirements are determined in accordance with workplace requirements |
|  |  | 3.5 | Electrical network apparatus and network circuits are confirmed as isolated and earthed/short circuited in accordance with workplace requirements |
|  |  | 3.6 | Operating parameters of the circuit within the electrical network apparatus are verified in accordance with workplace requirements |
|  |  | 3.7 | Operating parameters of the network electrical circuits are verified in accordance with workplace requirements |
|  |  | 3.8 | Established methodical processes are used to identify electrical problems from measured and calculated values in accordance with workplace requirements |
|  |  | 3.9 | Electrical network apparatus circuit problems are solved without damage to apparatus or circuits to comply with workplace requirements |
|  |  | 3.10 | Electrical network circuit problems are solved without damage to apparatus or circuits to comply with workplace requirements |
|  |  | 3.11 | Earthing/short circuiting equipment is removed, permit signed off and electrical network apparatus and network circuits re-energised in accordance with workplace requirements |
|  |  | 3.12 | Electrical network apparatus and network circuits are tested to determine correct operation in accordance with workplace requirements |
|  |  | 3.13 | Incidents or unplanned events are responded to in accordance with workplace requirements |
| 4 | Complete work and documentation | 4.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 4.2 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 4.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 4.4 | Plant, tools and equipment are cleaned, checked and returned to storage in accordance with workplace requirements |
|  |  | 4.5 | Surplus materials are returned to storage or disposed of in accordance with workplace requirements |
|  |  | 4.6 | Work records, reports and documentation are completed, and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETTDRIS99 Test and Verify Distribution Remote Area Installations.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7