# UETDRRC006 Perform low voltage electricity network switching in a very remote community

Release: 1

UETDRRC006 Perform low voltage electricity network switching in a very remote community

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to perform low voltage (LV) electricity network switching in a very remote community in the electricity supply industry (ESI). It includes preparing a switching schedule, isolating and restoring LV overhead and underground electricity networks to a given switching schedule using LV circuit breaking and isolation devices. It also includes paralleling LV electrical network circuits, using specialist tools, personal protective equipment (PPE), earthing and testing equipment, and the use of work permits and authorisation protocols. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus

# Competency Field

Remote Community

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to perform LV electricity network switching | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Work plan is obtained and confirmed in accordance with workplace requirements |
|  |  | 1.3 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.4 | Plant, tools, equipment and PPE required for work are determined, obtained and confirmed in working order |
|  |  | 1.5 | Switching schedule is developed in accordance with work plan and workplace requirements |
|  |  | 1.6 | LV network switching is prioritised for completion in accordance with workplace requirements |
|  |  | 1.7 | LV network switching schedule is communicated with relevant personnel in accordance with workplace requirements |
| 2 | Perform isolation of LV electricity network | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Authorisation is obtained to commence LV electricity network switching in accordance with switching schedule and workplace requirements |
|  |  | 2.3 | Lifting, climbing, working at heights and the use of plant, tools and equipment are carried out in accordance with workplace requirements |
|  |  | 2.4 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.5 | LV electricity network is isolated in accordance with switching schedule |
|  |  | 2.6 | Communications are maintained with authorisation authority in accordance with workplace requirements |
|  |  | 2.7 | LV electricity network is tested to confirm de-energised and earthed/short circuited in accordance with switching schedule and workplace requirements |
|  |  | 2.8 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.9 | Work permits are received and signed in accordance with workplace requirements |
|  |  | 2.10 | Authorisation authority is notified isolation is completed in accordance with switching schedule and workplace requirements |
| 3 | Perform restoration of LV electricity network | 3.1 | Work permits are signed off in accordance with switching schedule and workplace requirements |
|  |  | 3.2 | Authorisation is obtained to commence restoration of LV electricity network in accordance with workplace requirements |
|  |  | 3.3 | Lifting, climbing, working at heights and the use of plant, tools and equipment, are carried out in accordance with workplace requirements |
|  |  | 3.4 | Restore LV electricity network in accordance with switching schedule |
|  |  | 3.5 | Authorisation authority is notified restoration is completed in accordance with switching schedule and workplace requirements |
| 4 | Complete work and documentation | 4.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 4.2 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 4.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 4.4 | Plant, tools and equipment are cleaned, checked and returned to storage in accordance with workplace requirements |
|  |  | 4.5 | Work records, reports and documentation are completed, and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRIS35 Perform remote community network field switching to a given schedule.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7