# Assessment Requirements for UETDRRF001 Perform cable pit/trench/excavation rescue

Release: 1

Assessment Requirements for UETDRRF001 Perform cable pit/trench/excavation rescue

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on one occasion and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures inspecting and placing rescue equipment for a cable pit/trench/excavation rescue performing a rescue from a pit/trench/excavation in accordance with workplace procedures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

emergency procedures for the rescue of a victim from a cable pit/trench/excavation encompassing: inspection of rescue equipment assessing hazards to rescuer, victim and others isolation procedures, where appropriate safe approach distances (SAD) appropriate to cable pit/trench/excavation rescue involvement of external emergency services emergency procedures for the skills required for the rescue of a victim from a cable pit/trench/excavation encompassing: placement of rescue equipment controlling hazards to rescuer, victim and others maintaining SAD appropriate to cable pit/trench/excavation rescue removing victim to safe location/place of safety.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry for performing cable pit/trench/excavation rescues applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7