# UETDRRT009 Maintain overhead traction components and equipment

Release: 1

UETDRRT009 Maintain overhead traction components and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to maintain or repair overhead traction equipment, components and hardware in the electricity supply industry (ESI). It includes repairing or replacing components or equipment and hardware, undertaking safe working practices on or about the running line/track, identifying and confirming road/rail management plans, and electrical permits. It also includes inspecting and checking equipment, components and hardware are fit for service and are within normal parameters and maintenance records are updated. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS012 Install and maintain poles, structures and hardware UETDRRT002 Install overhead traction components and equipment

# Competency Field

Rail Traction

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for maintenance of overhead traction equipment or components | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Relevant maintenance documents are identified and obtained |
|  |  | 1.3 | Plant, tools, equipment, components and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.4 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.5 | Work is prioritised and sequenced for completion in accordance with workplace requirements |
|  |  | 1.6 | Work permits are organised in accordance with workplace requirements |
|  |  | 1.7 | Worksite, road or rail management plan is prepared in accordance with workplace requirements |
|  |  | 1.8 | Environmental constraints applicable to the work are identified and control measures applied |
| 2 | Perform maintenance of overhead traction equipment or components | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Lifting, working at heights and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.4 | Work permits are instructed and issued and where appropriate signed in accordance with workplace requirements |
|  |  | 2.5 | Worksite, road or rail management plan is established in accordance with workplace requirements |
|  |  | 2.6 | Overhead traction equipment or components is maintained including repair or replacement in accordance with design standards, drawings and workplace requirements |
|  |  | 2.7 | Overhead traction equipment or components are maintained and completed in agreed timeframes, to design standards or maintenance documents in accordance with workplace requirements |
|  |  | 2.8 | Components or equipment and hardware are confirmed fit for service in accordance with workplace requirements |
|  |  | 2.9 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.10 | Quality checks of work, including visual inspections, are undertaken in accordance with workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked against maintenance documents for compliance and anomalies reported in accordance with workplace requirements |
|  |  | 3.2 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 3.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 3.4 | Plant, tools and equipment are cleaned, checked and returned to storage in accordance with workplace requirements |
|  |  | 3.5 | Surplus materials are returned to storage or disposed of in accordance with workplace requirements |
|  |  | 3.6 | Work permits are completed, and overhead traction equipment or components are fit for service in accordance with workplace requirements |
|  |  | 3.7 | Work records, reports and documentation are completed in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRRT28 Maintain overhead traction components and equipment.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7