# UETDRRT011 Maintain traction overhead wiring systems

Release: 1

UETDRRT011 Maintain traction overhead wiring systems

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to maintain traction overhead wiring systems in the electricity supply industry (ESI). It includes repairing or replacing wiring systems, undertaking safe working practices on or about the running line/track, identifying and confirming road/rail management plans, and electrical permits. It also includes inspecting, diagnosing faults of wiring systems ensuring they are fit for service within normal parameters, including updating of maintenance records. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirement which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS012 Install and maintain poles, structures and hardware UETDRRT002 Install overhead traction components and equipment UETDRRT004 Install traction overhead wiring systems

# Competency Field

Rail Traction

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to maintain overhead traction wiring systems | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Relevant maintenance documents are identified and obtained |
|  |  | 1.3 | Plant, tools, equipment, materials and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.4 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.5 | Work is prioritised and sequenced for completion in accordance with workplace requirements |
|  |  | 1.6 | Work permits are organised in accordance with workplace requirements |
|  |  | 1.7 | Worksite, road or rail management plan is prepared in accordance with workplace requirements |
|  |  | 1.8 | Environmental constraints applicable to the work are identified and control measures applied |
| 2 | Perform maintenance on overhead traction wiring systems | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Lifting, working at heights and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.4 | Work permits are instructed and issued and where appropriate signed in accordance with workplace requirements |
|  |  | 2.5 | Worksite, road or rail management plan is established in accordance with workplace requirements |
|  |  | 2.6 | Overhead traction wiring systems are maintained, including repairing or replacing, and overhead traction conductors are modified and re-adjusted in accordance with workplace requirements |
|  |  | 2.7 | Overhead traction wiring systems are maintained within agreed timeframes, to design standards or maintenance documents in accordance with workplace requirements |
|  |  | 2.8 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.9 | Quality checks of work are undertaken in accordance with workplace requirements to ensure fit for service |
| 3 | Complete work and documentation | 3.1 | Completed work is checked against maintenance documents for compliance and anomalies reported in accordance with workplace requirements |
|  |  | 3.2 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 3.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 3.4 | Plant, tools and equipment are cleaned, checked, and returned to storage in accordance with workplace requirements |
|  |  | 3.5 | Surplus materials are returned to storage or disposed of in accordance with workplace requirements |
|  |  | 3.6 | Work permits are completed and overhead traction wiring systems are fit for service in accordance with workplace requirements |
|  |  | 3.7 | Work records, reports and documentation are completed in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRRT22 Maintain traction overhead wiring systems.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7

Assessment Requirements for UETDRRT011 Maintain traction overhead wiring systems

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) identifying hazards, assessing risks, identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) maintaining at least four (4) of the following types of system equipment and fittings: support structure span section insulator neutral section droppers support equipment tension regulators stay/guy wire tramway support network maintaining at least two (2) of the following types of traction conductors and cables: contact/trolley* catenary feeder midpoint anchor earth conductor return conductor drape/potential jumper (*must do) operating from at least one (1) of the following types of mobile plant and height equipment: elevated work platform (EWP) ladder mobile platform using at least two (2) of the following equipment and tools required for overhead rail traction wiring systems: tensioning equipment* specialised tools electrical testing equipment geometry profiling equipment (*must do) dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations standards, codes of practice and organisational workplace requirements, including: WHS/OHS hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE application, purpose and types of permits safe use of plant, tools and equipment traction overhead wiring systems maintenance documents methods for running wire systems or conductors electrical wiring system components, including: earth wires feeder wire catenary wire contact/trolley wire return conductor insulators surge arresters cantilevers droppers tensioning equipment current collectors tram support network tram fittings low clearance components types of electrical traction systems, including: auto-tensioning spring loaded tension balance weight anchor (BWA) fixed tension relationship of the components, apparatus and conductors to the operation of the traction system effective current collection and wire interface effective registration in the traction power system methods of profiling overhead traction wire, including: factors that impact on current collectors to achieve smooth current collector transitions and interfaces dynamic and static forces, including: types that effect traction systems techniques to minimise adverse effects maintenance of overhead traction wiring systems, including: types of equipment and components types and function of tools and equipment maintenance/repair procedures inspection and recording procedures diagnosis and correction of simple faults in specific overhead wiring systems, including: types and causes determination of appropriate corrective actions repair and replace procedures for overhead wiring systems events constituting an unplanned event or incident procedures for responding to an unplanned event or incident.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, facilities, equipment, plant and PPE currently used in industry for maintaining traction overhead wiring systems applicable documentation, including workplace requirements, maintenance documents, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7