# UETDRRT013 Perform rail traction switching operations to a given schedule

Release: 1

UETDRRT013 Perform rail traction switching operations to a given schedule

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to perform rail traction switching operations to a given schedule in the electricity supply industry (ESI). It also includes procedures for communicating with the electrical control officer/system, isolating electrical equipment, proving the area is de-energised and earthed or rail-connected, issuing and cancelling/relinquishing of electrical permits and returning affected sections to service. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDREL001 Apply environmental requirements UETDREL004 Operate plant and equipment in the vicinity of live electrical apparatus UETDREL005 Work safely in the vicinity of live electrical apparatus UETDRIS007 Install and maintain distribution overhead conductors and cables UETDRIS012 Install and maintain poles, structures and hardware UETDRRT001 Install overhead rail traction configurations UETDRRT002 Install overhead traction components and equipment UETDRRT004 Install traction overhead wiring systems

# Competency Field

Rail Traction

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for rail traction switching operations to a given schedule | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are referred to and confirmed |
|  |  | 1.2 | Operational/switching schedules are obtained and confirmed with stakeholders, as required |
|  |  | 1.3 | Alterations to the schedules which may be required after assessing the worksite is communicated to stakeholders for formal approval |
|  |  | 1.4 | Tools, equipment and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.5 | Hazards are identified, risks assessed and control measures identified and applied |
|  |  | 1.6 | Work is prioritised and sequenced for completion in accordance with schedule and workplace requirements |
|  |  | 1.7 | Work permits are organised in accordance with workplace requirements |
|  |  | 1.8 | Worksite, road or rail management plan is prepared in accordance with workplace requirements |
|  |  | 1.9 | Personnel participating in work are fully briefed and responsibilities confirmed in accordance with workplace requirements |
| 2 | Carry out rail traction switching operations to a given schedule | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | The use of tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.3 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.4 | Communications with electrical control officer are established and maintained during switching operation in accordance with workplace requirements |
|  |  | 2.5 | Rail traction switching operations are completed in agreed timeframes in accordance with workplace requirements |
|  |  | 2.6 | Electrical equipment and associated sections for the worksite are isolated and proven de-energised using appropriate testing devices and earthed or rail connected, where required, in accordance with schedule and workplace requirements |
|  |  | 2.7 | Work permits are instructed and issued, and signed in accordance with workplace requirements |
|  |  | 2.8 | Incidents or unplanned events are responded to in accordance with workplace requirements |
|  |  | 2.9 | Work permits are cancelled or relinquished in accordance with workplace requirements |
|  |  | 2.10 | Electrical equipment and associated sections for the worksite are returned to service in accordance with schedule and workplace requirements |
| 3 | Conclude rail traction switching operations to a given schedule | 3.1 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 3.2 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 3.3 | Tools and equipment are cleaned, checked and returned to storage in accordance with workplace requirements |
|  |  | 3.4 | Work records, reports and documentation are completed and processed in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRRT30 Perform to a given schedule rail traction switching operations.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7