# UETDRSB002 Commission and maintain discrete control and protection systems

Release: 1

UETDRSB002 Commission and maintain discrete control and protection systems

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit includes the skills and knowledge required to commission and maintain discrete control and protection systems in the electricity supply industry (ESI). It includes commissioning and maintenance procedures, detailed operation and settings of protection and control schemes, and procedures for evaluating serviceability of equipment. It also includes principles and procedures for isolation and tagging, undertaking functional checks, and testing techniques and equipment. Note: Entry into this unit is for users who: hold the unit UETDREL005 Work safely in the vicinity of live electrical apparatus or equivalent, and hold an Electrician licence or the equivalent issued in an Australian state or territory, or hold an Electrician qualification or the equivalent issued in an Australian state or territory. This unit can be undertaken in conjunction with the qualification listed above, provided all requirements for completion of the Certificate III qualification are met prior to issuing this unit. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Refer to Application.

# Competency Field

Substation

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to commission and maintain discrete control and protection systems | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are reviewed and determined |
|  |  | 1.2 | Work plan is obtained and confirmed in accordance with workplace requirements, and where relevant, communicated to the appropriate personnel |
|  |  | 1.3 | Hazards are identified, risks assessed, and control measures identified and applied |
|  |  | 1.4 | Work is prioritised and sequenced for completion in accordance with work plan and workplace requirements |
|  |  | 1.5 | Plant, tools, equipment and personal protective equipment (PPE) required for work are determined, obtained and confirmed in working order |
|  |  | 1.6 | Liaison and communication issues with authorised personnel, authorities and clients are resolved to facilitate work, as required |
|  |  | 1.7 | Worksite is prepared in accordance with the work plan and workplace requirements |
| 2 | Commission and maintain discrete control and protection systems | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Work permits are received and signed in accordance with workplace requirements |
|  |  | 2.3 | Lifting, working at heights, working in confined spaces and the use of plant, tools, equipment and PPE are carried out in accordance with workplace requirements |
|  |  | 2.4 | Hazard control measures are monitored in accordance with workplace requirements |
|  |  | 2.5 | Discrete control and protection systems are commissioned in accordance with workplace requirements |
|  |  | 2.6 | Discrete control and protection systems are maintained in accordance with workplace requirements |
|  |  | 2.7 | Incidents or unplanned events are responded to in accordance with workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 3.2 | Work permits are signed off in accordance with workplace requirements |
|  |  | 3.3 | Worksite is rehabilitated, cleaned and made safe in accordance with workplace requirements |
|  |  | 3.4 | Plant, tools and equipment are cleaned, checked and returned to storage, and surplus resources and materials are managed in accordance with workplace requirements |
|  |  | 3.5 | Incidents or unplanned events are reported in accordance with workplace requirements |
|  |  | 3.6 | Work records, reports and documentation are completed, and where relevant, appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETTDRSB35 Maintain discrete control and protection systems.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7

Assessment Requirements for UETDRSB002 Commission and maintain discrete control and protection systems

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements including: work health and safety (WHS)/occupational health and safety (OHS) requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) dealing with an unplanned event on at least one (1) occasion obtaining and signing relevant work permits in accordance with workplace requirements completing relevant work records, reports and documentation confirming pre-commission testing undertaking functional checks and testing, including all of the following: isolating protection direct current (d.c.) relay supply controls, indicators and alarms overcurrent earth fault trip and control circuits relay settings maintaining at least three (3) of the following protection devices: parallel operation thermal overloads voltage regulation overcurrent earth fault automatic changeover auto-reclose buchholz relay cooling controls d.c. relay supply frame leakage neutral displacement parallel operation thermal overloads transformer temperature control devices commissioning at least three (3) of the following protection devices: parallel operation thermal overloads voltage regulation overcurrent earth fault automatic changeover auto-reclose buchholz relay cooling controls d.c. relay supply frame leakage neutral displacement parallel operation thermal overloads transformer temperature control devices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements including WHS/OHS requirements hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE safe use of plant, tools and equipment application, purpose and types of permits and access authorities procedures for identifying and responding to an unplanned event workplace records, reports and documentation evaluation of equipment serviceability identification and procurement of materials and apparatus electrical equipment associated with protection and control schemes including: types and applications characteristics and capabilities testing techniques and procedures types and applications of test equipment operation and maintenance procedures for protection devices relay manufacturer specifications, types, function and characteristics operation and maintenance procedures associated with voltage regulation schemes circuit breaker auxiliary systems detailed operation and setting of protection and control schemes location and rectification of faults in low voltage (LV) electrical equipment principles and procedures for isolation and tagging commissioning and maintenance procedures, including: compliance with workplace requirements system diagrams, drawings and operating manuals close out requirements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace requirements, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7