# Assessment Requirements for UETDRSB009 Install high voltage plant and equipment

Release: 1

Assessment Requirements for UETDRSB009 Install high voltage plant and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements including: work health and safety (WHS)/occupational health and safety (OHS) requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) dealing with an unplanned event on at least one (1) occasion obtaining and signing relevant work permits in accordance with workplace requirements completing relevant work records, reports and documentation using drawings and diagrams including all of the following: building layouts cable block diagrams cable schedules operating and substation arrangement diagrams wiring diagrams and schematic drawings using at least five (5) of the following testing equipment on at least one occasion: ammeter voltmeter insulation resistance tester micro-ohm tester multimeter specialised equipment installing at least two (2) of the following types of equipment: power transformer high voltage (HV) reactor auxiliary transformer current transformer voltage transformer capacitor bank circuit breaker installing at least two (2) of the following types of associated equipment: disconnector fault throwing switch earth switch earth grid connections surge arrestor neutral earthing transformer resistor bank busbar performing at least three (3) of the following tests: insulation resistance dielectric dissipation factor low voltage (LV) excitation continuity ratio winding resistance gas pressure timing contact resistance.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including WHS/OHS requirements hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE safe use of plant, tools and equipment application, purpose and types of permits events constituting an unplanned event or incident procedures for responding to an unplanned event or incident workplace records, reports and documentation diagrams, drawings, and manuals, including: electrical and mechanical drawings operating and substation arrangement diagrams manufacturers’ manuals specialised tools, including: types, construction and function calibration care and maintenance testing equipment, including: types, construction and function calibration care and maintenance HV plant and equipment, including: types, construction and function installation techniques procedures for checking completed installation for compliance.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace requirements, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7