# UETDRSO011 Respond to discrete and interdependent protection operations

Release: 1

UETDRSO011 Respond to discrete and interdependent protection operations

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Application

This unit covers the coordination of response to discrete and interdependent protection operations due to system faults. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace subject to regulations for undertaking of electrical work. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

All competencies in the Common Unit Group must have been completed, plus all competencies in one (1) of the identified Pathway Unit Group(s). Common Unit Group UEENEED104A Use engineering applications software on personal computers UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE104A Solve problems in d.c. circuits UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEE124A Compile and produce an energy sector detailed report UEENEEE125A Provide engineering solutions for problems in complex multiple path circuits UEENEEE126A Provide solutions to basic engineering computational problems UEENEEG101A Solve problems in electromagnetic devices and related circuits UEENEEG102A Solve problems in low voltage a.c. circuits UEENEEG149A Provide engineering solutions to problems in complex polyphase power circuits UETDREL001 Apply environmental requirements UETDREL005 Work safely in the vicinity of live electrical apparatus UETDRIS005 Implement & monitor power system environmental & sustainable energy management policies & procedures UETDRIS006 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs Distribution and Sub-transmission Pathway Unit Group UETDRSO001 Coordinate high voltage distribution and sub-transmission networks UETDRSO005 Develop high voltage distribution and sub-transmission switching programs Transmission Pathway Unit Group UETDRSO002 Coordinate high voltage transmission network UETDRSO004 Develop and evaluate power systems transmission switching programs

# Competency Field

System Operations

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan response to discrete/interdependent protection operations | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) practices/procedures and environmental and sustainable energy procedures, which may influence the preparation of the switching program, are reviewed and determined |
|  |  | 1.2 | Purpose of the response is established after data is analysed and expected outcomes of the work are confirmed with appropriate personnel |
|  |  | 1.3 | Established policies, procedures and specifications for the response are obtained or established with appropriate personnel |
|  |  | 1.4 | Response to discrete/interdependent protection operations are discussed with and/or directed to appropriate personnel in order to ascertain the scope of the work/testing required |
|  |  | 1.5 | Testing parameters are ascertained from established policies, procedures and specifications |
|  |  | 1.6 | Equipment/tools and personal protective equipment (PPE) are selected based on specified performance criteria and established procedures |
|  |  | 1.7 | Work roles and tasks are allocated according to requirements and individual competencies |
|  |  | 1.8 | Work is prioritised and sequenced for the most efficient/effective outcome, completed within an acceptable timeframe, to a quality standard and in accordance with established procedures |
|  |  | 1.9 | Liaison and communication issues with others/authorised personnel, authorities and clients are resolved and activities coordinated to carry out work |
|  |  | 1.10 | Risk control measures are identified, prioritised and evaluated against the work schedule |
|  |  | 1.11 | Need for relevant work permits is identified to coordinate the performance of work according to requirements and/or established procedures |
|  |  | 1.12 | Circuit/systems modelling is used to evaluate alternative proposals in accordance with established procedures |
|  |  | 1.13 | Strategic plans are developed incorporating organisational initiatives in accordance with established procedures |
| 2 | Carry out response to discrete/interdependent protection operations | 2.1 | WHS/OHS and sustainable energy principles, functionality and practices to reduce the incidents of accidents and minimise waste are incorporated into the project in accordance with requirements and/or established procedures |
|  |  | 2.2 | Decisions concerning the response to protection operations are made on the basis of safety and effective outcomes according to requirements and/or established procedures |
|  |  | 2.3 | Stakeholders/customers are kept informed of current status regarding plan progress and recent developments |
|  |  | 2.4 | Technical advice is given regarding potential hazards, safety risks and control measures so that monitoring and preventative action can be undertaken and/or appropriate authorities consulted, where necessary, in accordance with requirements and established procedures |
|  |  | 2.5 | Essential knowledge and associated skills are applied to analyse specific data and compare it with compliance specifications to ensure completion of the work within an agreed timeframe according to requirements |
|  |  | 2.6 | Testing of the decision to be implemented is undertaken according to requirements and established procedures |
|  |  | 2.7 | Work teams/groups are arranged/coordinated/evaluated to ensure planned goals are met according to established procedures |
|  |  | 2.8 | Solutions to non-routine problems are identified and actioned, using acquired essential knowledge and associated skills, according to requirements |
|  |  | 2.9 | Quality of work is monitored against personal performance agreement and/or established organisational and professional standards |
| 3 | Complete the response to discrete/interdependent protection operations | 3.1 | Final review of the switching program is undertaken to ensure it complies with all requirements and includes all specifications and documentations needed to complete the work |
|  |  | 3.2 | Appropriate personnel are notified of completion and reports and/or completion documents (electronic/paper) are finalised/commissioned |
|  |  | 3.3 | Reports and/or completion documents (electronic/paper) are submitted to relevant personnel/organisations for approval and, where applicable, statutory or regulatory approval |
|  |  | 3.4 | Approved copies of switching program documents (electronic/paper) are issued and records are updated in accordance with established procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRSO48 Respond to discrete and interdependent protection operations.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7