# Assessment Requirements for UETDRSO013 Coordinate and manage transmission network access and activities

Release: 1

Assessment Requirements for UETDRSO013 Coordinate and manage transmission network access and activities

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements including: work health and safety (WHS)/occupational health and safety (OHS) requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures dealing with an unplanned event on at least one (1) occasion obtaining and signing on and off relevant work permits in accordance with workplace requirements completing relevant work records, reports and documentation evaluating and monitoring work plans for best outcomes in accordance with workplace requirements making coordination and management decisions in accordance with best outcomes, safety control measures, and workplace requirements coordinating and managing at least one (1) work team according to best outcomes, individual competencies and workplace requirements coordinating and managing one (1) work plan for access to each of the following: extra high voltage (EHV) transformer EHV switchgear EHV lines EHV bus coordinating and managing one (1) work plan, which considers at least two (2) of the following: commissioning of EHV plant planned interruption to EHV customer installation of a mobile generator consideration of paralleling feeders EHV switching impacts EHV capacitors EHV regulators managing all of the following for each of the work plans: load voltage system reliability critical customers completing all of the following: checking switching instructions calculating plant loading monitoring switching progress monitoring the status of access permits and authorities ensuring network plant operates within specifications applying and administrating supervisory control and data acquisition (SCADA) meeting paralleling conditions for interconnected networks.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including WHS/OHS requirements hazard, risk assessment and risk control requirements, including possible hazards events constituting an unplanned event or incident procedures for responding to an unplanned event or incident workplace records, reports and documentation application, purpose, and types of permits, and access authority procedures coordination and management of work teams for best outcomes, individual competencies and workplace requirements interconnected EHV electrical networks manuals, system diagrams, plans and drawings types, characteristics and capabilities of electrical apparatus types, characteristics and capabilities of specialised tools and testing equipment fault levels and settings load calculation operating agreements principles of harmonics principles of resonant networks EHV switching principles, including: EHV switching operator responsibilities alternative sources of supply restrictions on electrical apparatus EHV isolation procedures EHV earthing procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice, network drawings, operational event data and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7