# UETDRSO013 Coordinate and manage transmission network access and activities

Release: 1

UETDRSO013 Coordinate and manage transmission network access and activities

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Application

This unit includes the skills and knowledge required to coordinate and manage transmission network access and activities in the electricity supply industry (ESI). It includes making coordination and management decisions for work plans, in accordance with best outcomes, safety control measures, and workplace requirements. It also includes types, characteristics and capabilities of electrical apparatus, sources of possible back-feed, extra high voltage (EHV) isolation and earthing procedures, and operating agreements. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEECD0044 Solve problems in multiple path circuits UEECD0046 Solve problems in single path circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0020 Solve problems in low voltage a.c. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UETDRSO017 Develop and validate transmission switching programs UETDRSO020 Operate SCADA equipment

# Competency Field

System Operations

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to coordinate and manage transmission network access and activities | 1.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be done are reviewed and determined |
|  |  | 1.2 | Purpose of the coordination and management is established after data is analysed and expected outcomes of the work are confirmed with appropriate personnel |
|  |  | 1.3 | Work plans are obtained and confirmed in accordance with workplace requirements |
|  |  | 1.4 | Systems modelling is used to evaluate and determine best outcomes for work plans in accordance with workplace requirements |
|  |  | 1.5 | Work roles and tasks are determined according to requirements and individual competencies |
|  |  | 1.6 | Work is prioritised and sequenced for completion in accordance with work plan and workplace requirements |
|  |  | 1.7 | Liaison and communication issues with authorised personnel, authorities and clients are resolved to facilitate work, as required |
|  |  | 1.8 | Hazards are identified, risks assessed, and control measures identified and applied |
|  |  | 1.9 | Work permits are determined in accordance with workplace requirements |
| 2 | Coordinate and manage transmission network access and activities | 2.1 | Legislation, regulations, standards, codes of practice and organisational workplace requirements for the work to be performed are applied and monitored |
|  |  | 2.2 | Work plans are evaluated and monitored for best outcomes in accordance with workplace requirements |
|  |  | 2.3 | Coordination and management decisions are made in accordance with best outcomes, safety control measures, and workplace requirements |
|  |  | 2.4 | Work teams are coordinated and managed according to best outcomes, individual competencies and workplace requirements |
|  |  | 2.5 | Work permits are received and signed in accordance with workplace requirements |
|  |  | 2.6 | Incidents or unplanned events are responded to in accordance with workplace requirements |
| 3 | Complete work and documentation | 3.1 | Completed work is checked for compliance against the work plan and workplace requirements |
|  |  | 3.2 | Work records, reports and documentation are completed, and appropriate personnel notified in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UET Transmission, Distribution and Rail Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is not equivalent to UETDRSO002 Coordinate high voltage transmission network.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7