# Assessment Requirements for UETDRSO015 Develop and validate distribution and sub-transmission switching programs

Release: 1

Assessment Requirements for UETDRSO015 Develop and validate distribution and sub-transmission switching programs

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

establishing the purpose of the distribution and sub-transmission switching program analysing data and determining expected work outcome identifying hazards, assessing risks, and identifying, applying and monitoring control measures confirming, reviewing, and updating workplan, based on technical advice, site inspection, and data analysis determining equipment required for the work prioritising and sequencing work checking completed work for compliance against the work plan and workplace requirements completing relevant work records, reports and documentation using available resources to determine best outcomes using and interpreting single line diagrams (SLD) demonstrating one (1) switching program for each of the following: high voltage (HV) transformer HV switchgear HV lines and feeders demonstrating one (1) switching program, which considers at least two (2) of the following: commissioning of HV plant planned interruption to HV customer installation of a mobile generator consideration of paralleling feeders HV switching impact on low voltage (LV) customers HV capacitors HV regulators preparing switching programs to isolate, test and earth all the following: HV transformer HV switchgear HV lines preparing, writing and validating a switching program, to include managing all of the following: load voltage system reliability critical customers.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

purpose of the HV switching program data analysis hazard, risk assessment and risk control requirements, including potential hazards operational personnel requirements application, purpose, and types of permits work records, reports and documentation writing switching programs interconnected HV electrical networks principles of HV single wire earth return (SWER) system principles of harmonics principles of resonant networks HV switching principles, including: HV switching operator responsibilities manuals, system diagrams, plans and drawings types, characteristics and capabilities of electrical apparatus types, characteristics and capabilities of specialised tools and testing equipment sources of possible back-feed restrictions on electrical apparatus HV isolation procedures HV earthing procedures fault levels and settings load calculation operating agreements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate computerised electrical plant control and monitoring facilities currently used in industry applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice, operational event data, network drawings, crisis management procedures and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7