# Assessment Requirements for UETDRSO020 Operate SCADA equipment

Release: 1

Assessment Requirements for UETDRSO020 Operate SCADA equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation performing on at least three (3) occasions all of the following: determine operational parameters interpret alarms, events and indicators evaluate information accuracy respond using available technology communicate with relevant personnel enable/disable control schemes execute switching programs analyse supervisory control and data acquisition (SCADA) feedback performing on at least two (2) occasions all of the following: test and commission new SCADA interface deal with an unplanned event demonstrating all of the following: manage SCADA configuration extract network data for analysis of network loading trends.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including WHS/OHS requirements hazard, risk assessment and risk control requirements, including potential hazards events constituting an unplanned event or incident procedures for responding to an unplanned event or incident workplace records, reports and documentation SCADA systems, including: configuration and failover features and applications display functions and capabilities SCADA point configuration setting limits alarm and event logging control scheme parameters trending data.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate tools and SCADA equipment currently used in industry applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7