# Assessment Requirements for UETDRTS019 Manage compliance with national electricity market metrology practices and procedures

Release: 1

Assessment Requirements for UETDRTS019 Manage compliance with national electricity market metrology practices and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices performing, on at least one (1) occasion, at least one (1) of the following activities: ensuring compliance to the meter assets management plan conducting appropriate field audits on behalf of or with a representative of the regulated energy market performing, on at least one (1) occasion, the following activity: coordinating job activities for multiple discipline work groups performing, on at least one (1) occasion, the following activity: managing work functions to ensure the compliance of a customer’s revenue metering installation performing, on at least two (2) occasions, the following activity: establishing/maintaining relationships with other market participants performing, on at least three (3) occasions, the following activity: managing compliance with organisational policies, procedures and the national electricity market requirements dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

standards, codes, rules and regulations applicable to operation within a regulated energy market roles and responsibilities of a market participant (meter data provider, meter provider or responsible person) operating within a regulated energy market detailed knowledge and understanding of the composition of a meter asset management pan (MAMP) the provisions of the organisations meter asset management plan coordinating job activities for multiple discipline work groups auditing for compliance within the regulated energy market ISO accreditation applicable to operation within a regulated energy market compliance with the organisations service level requirements within the regulated energy market management of customer, client and regulator negotiations and correspondence within a regulated energy market maintaining meter data within a regulated energy market managing registration of customer metering installations within the regulated energy market.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7