# Assessment Requirements for UETDRTS031 Commission and maintain energy/revenue metering schemes

Release: 1

Assessment Requirements for UETDRTS031 Commission and maintain energy/revenue metering schemes

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two (2) separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements including: work health and safety (WHS)/occupational health and safety (OHS) requirements identifying hazards, assessing risks, and identifying, applying and monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) dealing with an unplanned event on at least one (1) occasion obtaining and signing relevant work permits in accordance with workplace requirements establish the purpose of the commissioning or maintenance scheme establish commissioning and maintenance procedures performing, on at least three (3) occasions, the following activities: identification of faults with metering equipment identification of faults with energy registration and revenue billing demonstrating all of the following activities: analysing data for best outcome verifying installation performing, on at least two (2) occasions, at least six (6) of the following activities: isolation inspection monitoring testing adjustment calibration functional checks performing, on at least three (3) occasions, all the following activities: verifying meter function determining energy flows, voltage, current and phasor relationships validating actual meter energy data performing on at least three (3) occasions, the commissioning or maintaining of the following metering scheme types: single feeder high voltage (HV) low voltage (LV) current transformer customer sites completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including WHS/OHS requirements hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE application, purpose and types of permits events constituting an unplanned event or incident procedures for responding to an unplanned event or incident workplace records, reports and documentation instrument transformers, including types, application and characteristics inputs and relationships of metering points to verify logical metering schemes instrument transformer burden metering communication with market participants data analysis for best outcomes installation, and meter function and actual meter energy data energy flows, voltage, current and phasor relationships procedures for the following activities in relation to metering equipment: isolation inspection monitoring testing adjustment repair calibration functional checks.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate tools, equipment and PPE currently used in industry applicable documentation, including workplace requirements, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7