# Assessment Requirements for UETDRVC001 Apply work health and safety requirements for powerline vegetation control

Release: 1

Assessment Requirements for UETDRVC001 Apply work health and safety requirements for powerline vegetation control

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) legislation, regulations, standards, codes of practice and organisational workplace requirements, including: identifying typical hazards associated with powerline vegetation control work applying and reviewing risk control measures to minimise, control or eliminate identified hazards monitoring control measures obtaining, inspecting and using relevant personal protective equipment (PPE) applying workplace procedures for an emergency involving electricity using plant, tools and equipment safely applying correct manual handling techniques completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant WHS/OHS legislation, regulations standards, codes of practice and organisational workplace requirements, including: duty of care employer and employee responsibilities, rights and obligations major functions of safety committees and representatives powers of health and safety inspectors WHS consultation (toolbox/safety meetings) manual handling working at heights safe approach distances drop zones hazard and risk assessment, including: difference between hazards and risks hierarchy of control control measures and monitoring of control measures hazards in the powerline vegetation control environment physical and psychological hazards, including excessive noise, vibration, flying particles, heat, cold, ultraviolet (UV) radiation, chemicals, burns, dust, electrical currents, insects, snakes, fauna, fatigue, stress, drugs and alcohol types, inspection and application of PPE safe use of plant, tools and equipment, including: pre-operational checks post-operational checks types of fires and basic firefighting equipment types of injuries common in the powerline vegetation control environment incident, emergency and rescue procedures processes for communicating, reporting and recording incidents and emergencies hazardous substances and dangerous goods in the workplace, including: classifications labelling and storage requirements purpose and interpretation of safety data sheets (SDS) working safely in a powerline vegetation control environment, including: effects of electric shock on the body consequences of short circuits, including arc flash and touch and step potentials precautions to minimise the chance of electric shock procedures for emergencies involving electricity common causes of electrical accidents.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations, where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7