# Assessment Requirements for UETDRVC004 Control vegetation in the vicinity of live electrical apparatus from an elevated work platform

Release: 1

Assessment Requirements for UETDRVC004 Control vegetation in the vicinity of live electrical apparatus from an elevated work platform

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant legislation, regulations, standards, codes of practice and organisational workplace requirements, including: work health and safety (WHS)/occupational health and safety (OHS) requirements safe approach distances vegetation clearances identifying hazards, assessing risks, identifying, applying and monitoring control measures organising and signing on and off relevant work permits in accordance with workplace requirements obtaining, inspecting and using relevant personal protective equipment (PPE) performing pre-operational checks on elevated work platform (EWP), tools and equipment determining communication method with safety observer confirming safety observer is in position in accordance with workplace requirements using tools and equipment to safely control vegetation from an EWP, including: techniques for shaping, forming, and controlling/managing epicormic regrowth appropriate cutting technique for branch removal providing clearance for electrical apparatus using an EWP whilst maintaining safe approach distance in the vicinity of live electrical apparatus dealing with an unplanned event on at least one (1) occasion completing relevant work records, reports and documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

relevant legislation, regulations standards, codes of practice and organisational workplace requirements, including: WHS/OHS safe approach distances vegetation clearances hazard, risk assessment and risk control requirements, including potential hazards types and application of PPE application, purpose and types of work permits safety observer: role and responsibilities communication methods events constituting an unplanned event or incident procedures for responding to an unplanned event or incident vegetation control principles and techniques EWP operation, including: types of, selection and safe use insulation properties and testing inspection, care and maintenance emergency procedures vegetation control tools and equipment, including: types of, selection and safe use insulated tools and testing inspection, care and maintenance.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so. Where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace requirements, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7