# UETSS00047 Perform Rescue from a Live LV Panel and CPR

Release 2

UETSS00047 Perform Rescue from a Live LV Panel and CPR

# Modification History

Release 2. Superseded Units of Competency updated Release 1. New Skill Set This Skill Set replaces and is equivalent to UETSS00029 Refresher - Perform Rescue from a Live LV Panel and CPR

# Description

This Skill Set is for individuals who perform rescues from live low voltage (LV) panels and cardiopulmonary resuscitation (CPR) in the context of transmission, distribution or rail work functions.

# Pathways Information

The UETSS00047 Perform Rescue from a Live LV Panel and CPR Skill Set is part of the UET Transmission, Distribution and Rail Sector Training Package.

# Licensing/Regulatory Information

Not applicable.

# Skill Set Requirements

| A total of 2 Units of Competency must be attained. |  |
| --- | --- |
| HLTAID009 | Provide cardiopulmonary resuscitation |
| UETDRRF004 | Perform rescue from a live LV panel |

# Target Group

The Skill Set is targeted at electricity supply industry (ESI) workers who undertake the installation and/or maintenance of network infrastructure which requires performing rescues from live LV panels and CPR to meet work health and safety (WHS)/occupational health and safety (OHS) mobility and mutual aid requirements.

# Suggested words for Statement of Attainment

This UETSS00047 Perform Rescue from a Live LV Panel and CPR Skill Set from the UET Transmission, Distribution and Rail Sector Training Package meets the industry requirements for performing rescues from live low voltage (LV) panels and cardiopulmonary (CPR).

# Custom Content Section

Not applicable.