# UETTDRDP11 Inspect overhead poles-structures and electrical apparatus

Release: 1

UETTDRDP11 Inspect overhead poles-structures and electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit involves the skills and knowledge required to inspect overhead poles-structures and electrical apparatus in the electricity supply industry (ESI). It includes inspection of overhead conductors and/or cables, underground and overhead transition points, pole-mounted transformers, switchgear, hardware and/or earthing systems. It also includes the completion of inspection reports and other relevant documentation. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Common Unit Group UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UETTDREL11 Apply sustainable energy and environmental procedures UETTDREL16 Working safely near live electrical apparatus

# Competency Field

Distribution

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to inspect overhead structures and electrical apparatus used on poles-structures | 1.1 | Work schedules, plans, drawings, workplace procedures and material lists are received and confirmed |
|  |  | 1.2 | Job requirements and workplace procedures are identified and communicated with relevant personnel |
|  |  | 1.3 | Work health and safety (WHS)/ occupational health and safety (OHS), environmental and workplace procedures for the inspection of overhead structures and electrical apparatus used on poles and/or structures are obtained and confirmed for the purposes of the work to be performed and communicated |
|  |  | 1.4 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with relevant personnel and in accordance with workplace procedures |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks assessed and control measures identified in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permits are obtained, understood and signed in accordance with workplace procedures |
|  |  | 1.7 | Plant, equipment, tools and personal protective equipment (PPE) required for work is identified, obtained and confirmed in working order |
|  |  | 1.8 | Worksite is prepared to minimise risk, damage to property, commerce and individuals in accordance with workplace procedures |
|  |  | 1.9 | Traffic management plan is confirmed as being applied in accordance with workplace procedures |
| 2 | Inspecting overhead structures and electrical apparatus used on poles-structures | 2.1 | WHS/OHS, sustainable energy and environmental principles and practices are monitored and followed to reduce incidents in accordance with workplace procedures |
|  |  | 2.2 | Requirements for lifting and/or climbing and/or working at heights and the use of power tools/equipment are followed in accordance with workplace procedures |
|  |  | 2.3 | Inspection of overhead poles-structures and electrical apparatus is completed in agreed timeframes, to quality standards and with minimum waste in accordance with workplace procedures |
|  |  | 2.4 | Inspection of overhead structures and electrical apparatus is performed in accordance with job schedules, work requirements and workplace procedures |
|  |  | 2.5 | Unplanned events in the inspection of overhead poles-structures and electrical apparatus are responded to in accordance with workplace procedures |
|  |  | 2.6 | Quality checks of work are undertaken in accordance with workplace procedures |
| 3 | Complete inspection of overhead structures and electrical apparatus used on poles-structures | 3.1 | Completed work is checked against work plan, construction plans and drawings for compliance and anomalies are reported in accordance with workplace procedures |
|  |  | 3.2 | WHS/OHS and environmental incidents are reported in accordance with workplace procedures, as required |
|  |  | 3.3 | Worksite is rehabilitated, cleaned up and made safe in accordance with workplace procedures |
|  |  | 3.4 | Tools, equipment and surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.5 | Relevant work permits are signed off and overhead structures and electrical apparatus used on poles-structures are returned to service in accordance with workplace procedures |
|  |  | 3.6 | Work records, reports and/or documentation are completed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRDP11A Inspect overhead poles-structures and electrical apparatus.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7