# Assessment Requirements for UETTDRDP13 Maintain energised HV distribution overhead electrical apparatus (stick)

Release: 1

Assessment Requirements for UETTDRDP13 Maintain energised HV distribution overhead electrical apparatus (stick)

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices completing all of the following: installing/replacing structures installing/replacing hardware (e.g. cross-arm and insulator) repairing conductors installing/replacing/connecting bridge/bonding connections completing at least two (2) of the following: installing/replacing pole mounted reclosers installing/repairing/replacing air brake switches installing/repairing/replacing high voltage (HV) links/disconnects installing/removing temporary HV links/HV fuses washing insulators installing/repairing/replacing expulsion drop-out fuses installing/replacing lightning arrestors installing/replacing vibration dampers or aircraft warning markers using at least two (2) of the following access equipment: elevated work platform (EWP) ladder pole platform insulated structure using at least one (1) of the following testing and recording devices: voltage detector leakage detector insulation test equipment dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

legislation and regulations, including: legislation, standards and codes supply authority regulations industry guidelines and enterprise requirements safety precautions for HV live work up to and including 132 kV (poles) utilising live HV stick method, including: minimum approach distances WHS/OHS hazard and precautions assessing and controlling risks effects of excessive conductor temperature on insulating equipment personnel protective equipment (PPE) integrity of insulation emergency response, first aid and rescue policies and procedures for live HV stick method up to and including 132 kV, including: policies, procedures and practices definition of terms responsibilities of personnel types of structures types of equipment and compliance stick techniques up to and including 132 kV, including: HV insulators HV crossarms HV bridge connections installation and maintenance of equipment temporary midspan switching devices erection and replacement of poles replacement of conductors and cables HV armour rods and line guards conversion intermediate to strain construction switching devices safety precautions for plant, equipment and tools, including: safe working clearances identification of WHS/OHS hazards assessing and controlling risks and hazards PPE identification and serviceability of plant, equipment and tools, including: identification of plant, equipment and tools serviceability of plant equipment and tools operational use of plant, equipment and tools, including: conductor supports selecting conductor support method calculation of loads effects of secondary loading effects of resultant forces conductor support rigging procedures electrical and electrostatic principles, including: relationship with current, voltage and resistance as related to distribution lines phase voltage and respective line voltages production of an electric field HV insulation including: construction of insulators checking integrity of insulation prior to work commencement effects of electrical fields on insulators number of disc insulators needed performance of a failed insulator on the line and system minimum number of discs per string detecting failed insulators electrostatic induction on the human body, including effects switching surges and magnetic fields, including: lightning and switching surges magnetic fields HV switching fundamentals, including: manuals system diagrams/plans and drawings HV live work access authority/permit system fault current protection devices disabling auto-reclose function network interconnectors test instruments types of switchgear HV electrical faults types causes effects HV single wire earth return (SWER) system, including: components circuit arrangement operation principles faulty SWER earth system safety observer principles, including: duties techniques minimum approach distances (MAD) minimum safe working distance from vegetation teamwork HV live work.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7