# Assessment Requirements for UETTDRDS34 Draft and layout a power system distribution substation minor upgrade

Release: 1

Assessment Requirements for UETTDRDS34 Draft and layout a power system distribution substation minor upgrade

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements including the use of risk control measures applying sustainable energy principles and practices drafting at least one (1) of the following: a multi-phase pole mounted distribution transformer upgrade plan/layout a single-phase pole mounted transformer upgrade plan/layout laying out at least one (1) of the following: a multi-phase underground distribution substation upgrade a multi-phase distribution substation or associated equipment upgrade. e.g. substations, transformers, high voltage (HV)/low voltage (LV) switchgear dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

installation of overhead distribution conductors encompassing: standards, codes, legislation, supply authority regulations and/or enterprise requirements applicable to installing conductors and associated equipment requirements for the use of overhead line construction manuals, system diagrams/plans and drawings: material lists, conductor size, type and route length constructions types and structures for distribution and sub-transmission lines types, sizes and characterises of overhead conductors resources for the stringing and maintenance of conductors: types of LV and HV overhead electrical conductor connections causes and effects of poor electrical connections reasons for and methods used to maintain standard phase sequencing removing, repairing and replacing of damage conductors minimum clearances between overhead conductors and LV and HV structures techniques for conductor installation: types and application of tools, equipment and hardware methods of stringing, tensioning and termination of LV and HV conductors installation of underground cable encompassing: requirements for the use of enterprise construction manuals, system diagrams/plans and drawings safety precautions specific to the installation of underground cable: excavation and trench safety regulations gas detection procedures working in confined spaces personal protective equipment (PPE) hazards for the use of liquid petroleum gas (LPG) equipment for jointing of underground cable gas bottle testing procedures permit to work systems and isolation procedures trench excavation and reinstatement procedures installation of underground cable procedures: types of tools and equipment methods of installing conduits methods of installing cables and sealing cable ends (direct buried, ducts cleated and racked) procedures for the safe use of LPG equipment for cable jointing construction and types of underground cables encompassing: safety precautions specific to handling underground cables requirements for the use of enterprise manuals, system diagrams/plans and drawings types and applications of underground cables construction types and structures of underground cables characteristics of different types of underground cables ratings enterprise-specific switching diagrams and drawing encompassing: types and application of enterprise-specific switching drawings and documents: wiring and schematic diagrams and switching symbols mechanical drawings dealing with switching operations, project charts, switching schedules, graphs, technical manuals and catalogues, and instructions/worksheets interpretation of different system switching diagrams: LV system switching diagrams direct current (DC) traction supply sectioning diagrams HV transmission and distribution system symbols and feeder plans processes of updating switching diagrams power distribution network documentation encompassing: requirements for the use of manuals, system diagrams/plans and drawings and for plans such as work method statements for the control of WHS/OHS risks types and application of power distribution network documentation drawings and documents: wiring and schematic diagrams, drawings and switching symbols mechanical drawings dealing with the power distribution network, project charts, schedules, graphs, technical manuals and catalogues, and instructions/worksheets interpretation of different diagrams and documentation on LV and HV systems: overhead distribution extensions underground distribution extensions distribution substations street lighting systems fundamentals of surveying for the purpose of producing an overhead or underground distribution extension encompassing: Commonwealth, state/territory and local government legislation, standards, codes, supply and aviation authority regulations and/or enterprise requirements applicable to the surveying for an overhead and underground extension techniques in measuring heights and distances techniques in taking bearings angles of deviation using a compass techniques in using a clinometer techniques in recording and storage of data requirements for the use of overhead line construction manuals, system diagrams/plans and drawings techniques in plotting long spans: measuring stick, clinometer, trundle wheel and tapes correction for sloping ground distance across objects and range rods techniques in pegging pole positions: foot path alignments, types of pegs, pegs of other authorities and locating survey pegs fundamentals of computer-aided drafting (CAD) for drafting and layout of distribution extension and upgrades encompassing: Commonwealth, state/territory and local government legislation, standards, codes, supply authority regulations and/or enterprise requirements applicable to the drafting and layouts of distribution extensions and upgrades types of computer hardware and software, tools and equipment for the production of a draft and layout of distribution extension and/or upgrade techniques in storing and retrieving programs and files from the computer identification and methods of retrieving and manipulating digital symbols, designs, layouts, fonts and graphs stored in the computer techniques in using the CAD package in following necessary commands and protocols in accordance with the operating instructions of the CAD software manufacturer, such as: using file structure, menu utilisation, system library usage, data banking, achieving, file management and maintenance procedures calculation of dimensions and drafting measurements using the computer techniques in the preparation of preliminary sketches using the computer techniques in using 2-D computer graphics system and associated equipment to produce a distribution extension and or upgrade draft or layout techniques to diagnosing basic faults in computer operation layout principles for underground mains distribution extension encompassing: Commonwealth, state/territory and local government legislation, standards, codes, supply authority regulations and/or enterprise requirements applicable to underground mains distribution extension requirements for the use of underground mains construction manuals, system diagrams/plans and drawings and for plans such as work method statements for the control of WHS/OHS risks methods in determining material, equipment and tool lists: components types and quantity required spacing of components and equipment costings of items and components purchasing and contractual arrangements, including requirements to eliminate WHS/OHS hazards, minimise risks and provide residual WHS/OHS risk information determination of conductor size, type and route length resources needed for the laying of conductors determining the appropriate excavation for the location determining the size and depth of excavation determining the trench and pit layout procedures minimum clearances between conductors estimation of the duration of underground distribution extension project layout principles for a distribution substation minor upgrade encompassing: Commonwealth, state/territory and local government legislation, standards, codes, supply authority regulations and/or enterprise requirements applicable to a distribution substation minor upgrade requirements for the use of distribution substation minor upgrade construction manuals, system diagrams/plans and drawings and for plans such as work method statements for the control of WHS/OHS risks methods in determining material, equipment and tool lists: components types and quantity required spacing of components and equipment costings of items and components purchasing and contractual arrangements, including requirements to eliminate WHS/OHS hazards, minimise risks and provide residual WHS/OHS risk information determination of conductor size, type and route length resources needed for the laying of conductors, cables and equipment determining the appropriate installation sequence minimum clearances between conductors and equipment estimation of the duration of underground distribution extension project.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and PPE currently used in industry undertake drafting and layout of a distribution substation upgrade applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7