# Assessment Requirements for UETTDRDS54 Design power system transmission and sub-transmission protection and control

Release: 1

Assessment Requirements for UETTDRDS54 Design power system transmission and sub-transmission protection and control

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices completing two (2) compliant technical designs, including each of the following: protection and control systems implemented to suit statutory and organisational requirements alternating current (a.c.) and direct current (d.c.) circuit diagrams supervisory control and data acquisition (SCADA) hardwired and serially communicated signals metering load control power factor control a.c. and d.c. supplies protection and control panel layouts control cable termination diagrams completing designs, including all the following: activities that address the correction of errors in the process application of a design control checklist, which lists all of the required design activities to be carried out in this process dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

feeder automation system encompassing: function of feeder automation system and the main components operation procedure for a remote field device from a local control station functions of SCADA (or any other relevant data acquisition and control) systems and its main components SCADA system security interlocks and access restrictions SCADA system operation when switching apparatus or retrieving data via a remote access device, such as remote access terminal (RAT), dial up voice annunciated system and local control station function of the main components of a local/remote control system operation of a field devices using SCADA systems via a RAT, dial up annunciated system and local control station commissioning procedures associated with discrete protection and control systems encompassing: standards, codes, Commonwealth/state/territory legislation, supply authority regulations and/or enterprise requirements associated with the commissioning procedures requirements for the use of commissioning manuals, system diagrams/plans and drawings techniques in commissioning procedures - planning and policy, testing techniques and close-out requirements design principles of substation low voltage (LV) a.c. and d.c. supply systems encompassing: standards, codes, Commonwealth/state/territory/local government legislation, supply authority regulations and/or enterprise requirements wiring conventions, systems and labelling conventions substation equipment identification and layout, wiring and schematic diagrams and other appropriate diagrammatic representations LV design specifications, supply requirements and electrical load assessments substation LV system distribution requirements - substation batteries, isolation requirements, paralleling requirements, battery chargers, d.c. distribution panels and control systems, a.c. distribution panels and control systems and auto change-over requirements control equipment and auxiliary relays, flags and alarms common panel layouts design principles of substation control systems encompassing: standards, codes, Commonwealth/state/territory/local government legislation, supply authority regulations and/or enterprise requirements wiring conventions, systems and labelling conventions substation equipment identification and layout, wiring and schematic diagrams and other appropriate diagrammatic representations control system design specifications, functions and alarms substation control system requirements, such as: circuit breaker control - auto reclose, pole discrepancy, anti-hunting and spring charge timer over run transformer control - parallel operations, cooling control, master/slave operation, tap changer control and alarm systems reactive plant control systems - over voltage/under voltage, under frequency load shed and VAR control commissioning procedures associated with distribution protection and control systems encompassing: standards, codes, Commonwealth/state/territory legislation, supply authority regulations and/or enterprise requirements associated with the commissioning procedures requirements for the use of commissioning manuals, system diagrams/plans and drawings techniques in commissioning procedures - planning, policy and testing techniques close-out requirements operation and maintenance procedures associated with voltage regulation schemes encompassing: standards, codes, Commonwealth/state/territory legislation, supply authority regulations and/or enterprise requirements associated with the operating procedures requirements for the use of operating manuals, system diagrams/plans and drawings principles of operation and operating sequences - voltage control, VAR control, live bus/dead bus synchronising checks, tap changer (TC) principles, requirements for parallel operation, settings and grading techniques associated with isolation requirements, enterprise maintenance requirements, setting checks, LV injections and electrical measurements ancillary equipment, such as: transducers, buswire schemes, tap position indicators, local/remote control systems and alarm systems voltage regulation scheme types, including electro mechanical, micro-processor or combinations of both types and applications of test equipment encompassing: standards, codes, Commonwealth/State/Territory and local government legislation, supply authority regulations and/or enterprise requirements applicable to the use and application of electrical and/or electronic test equipment types and applications of test equipment used on discrete protection scheme techniques in the use of test equipment - electronic test equipment (Doble and Ohmnicrome, gas injection equipment, manufacturer test equipment, multimeters, phase angle meters and meggers) electrical equipment associated with distribution field device protection and control schemes encompassing: types and applications of electrical equipment - characteristics and capabilities, such as: schemes, automatic circuit reclosers (ACRs), gas switches, secondary injection tests, primary injection tests, TMR radios, SCADA, remote control, overcurrent, earth fault, sensitive earth fault, inverse time curves, definite time curves, tripping, reclose, DC supplies, AC supplies and alarms circuit breaker auxiliary systems encompassing: types and characteristics of high pressure air systems - air storage and air handling processes types and characteristics of DC systems - battery types, charging systems and protection systems types and characteristics of special ambient gases (SF6) systems - gas conditioning, storage and handling systems types and characteristics of vacuum interrupters types and characteristics of oil filled and oil handling detailed operation and setting of discrete protection systems encompassing: earth fault protection - master earth leakage schemes, sensitive earth fault relays and schemes, residual earth fault scheme, core balance earth fault scheme, frame/structure earth leakage scheme, time graded discrimination and backup protection overcurrent protection - feeder overcurrent protection, instantaneous overcurrent schemes, inverse timed overcurrent schemes, types and location of components of an overcurrent scheme, CT summation, time graded discrimination and backup protection alarms and controls - auxiliary relays, voltage regulating relays, line drop compensation, gas relay types, gas relay scheme operation and setting, and over temperature schemes detailed operation of interdependent protection systems encompassing: overcurrent and earth leakage schemes - intertripping, interlocking and blocking - logic mapping, master control, electromechanical, electronic and shading coils pilot wire, phase comparison - opposed voltage schemes, circulating current schemes, location of components of a scheme and pilot supervisory techniques load shedding, voltage control, parallel operation and load rejection busbar protection and CB failure protection reclose system - applications, single shot, multi-shot, blocking schemes and synchronisation checking detailed operation of complex protection systems encompassing: distance - characteristics, electromechanical, electronic, impedance, mho, offset mho, switched schemes, non-switched schemes, blocking schemes and bus zone differential, transformer differential, bus overcurrent - principles, feeder protection, transformer protection, bias systems, harmonic restraint, CT connections, bus protection, low impedance schemes, high impedance schemes, bus overcurrent schemes, generator protection, CT connections, special considerations and digital systems types of revenue metering applications of SCADA complex protection systems for communications harmonic control point on wave switching detailed operation of fundamental test equipment encompassing: care and safe use operating principles comparison of different operating principle meters used for the same purpose accuracy and loading effects of meters - measurement of voltage, current, power, resistance, insulation resistance, impedance and phase sequence, and the use of oscilloscopes detailed operation of protection test equipment encompassing: care and safe use operating principles comparison of different operating principle meters used for the same purpose accuracy and loading effects of meters - measurement of timing, voltage, current, resistance, inductance, capacitance, impedance, frequency, phase angle, phase difference and the use of primary, secondary and gas injection equipment detailed operation of control equipment test equipment encompassing: care and safe use operating principles comparing of different control system methods and equipment for the same purpose - circuit breaker, isolators, OLTC, pumps, fans and fire systems protection schemes encompassing: standards, codes, legislation, supply authority regulations and/or enterprise requirements applicable to protection schemes types of protection schemes encompassing reasons for use, application of protection zones around system elements and degree of protection types of feeder protection equipment - overcurrent protection inverse time-current operating characteristics operation of over current protection equipment used on distribution systems operation of ACRs and their time-current characteristics types and characteristics of overcurrent relays coordination methods of a distribution feeder protection scheme earth fault protection used on a distribution feeder operation of a single wire earth return (SWER) system principles of transmission, sub-transmission and zone substation control and protection designs encompassing: Commonwealth/state/territory and local government legislation, standards, codes, supply authority regulations and/or enterprise requirements applicable to the substation design management principles requirements for the use of the substation system construction manuals, system diagrams/plans and drawings and for plans such as work method statements for the control of WHS/OHS risks types of drawings to be produced - AC and DC circuit diagrams, panel layouts, connection diagrams, label lists and control cable schedules types of control and protection designs parameters - protection and control systems implemented to suit statutory and organisational requirements, AC and DC circuit diagrams correct and documented SCADA hardwired and serially communicated signals, metering, load control, power factor control, AC and DC supplies, protection and control panel layouts, and control cable termination diagrams.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry to undertake design of transmission, sub-transmission and zone substation protection and control systems applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7