# UETTDREL17 Operate asset inspection machinery and equipment near live electrical apparatus

Release: 1

UETTDREL17 Operate asset inspection machinery and equipment near live electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit involves the skills and knowledge required to operate asset inspection machinery and equipment near live electrical apparatus in the electricity supply industry (ESI). It includes inspecting and maintaining machinery and equipment, identifying hazards, assessing risks and implementing risk control measures. It also includes complying with relevant regulatory agencies/bodies, legislation, industry guidelines, codes of practice for safe use of machinery and equipment operating near live electrical and mechanical apparatus. This unit would be applied by asset inspectors engaged in regular and methodical inspection and treatment of poles and inspection of electrical apparatus in the transmission and distribution industry sector. The application of the skills and knowledge described in this unit may require a license to operate specific pieces of equipment such as elevated work platforms. Other conditions may apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Common Unit Group UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UETTDREL13 Comply with sustainability, environmental and incidental response policies and procedures UETTDREL14 Working safely near live electrical apparatus as a non-electrical worker

# Competency Field

Entry Level Cross Discipline

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to operate machinery and equipment near live electrical apparatus | 1.1 | Relevant work instructions are received and confirmed |
|  |  | 1.2 | Job requirements are discussed with relevant personnel and performed in accordance with workplace procedures |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS) and environmental workplace procedures are received and confirmed |
|  |  | 1.4 | Work is prioritised and sequenced following consultation with relevant personnel for completion within acceptable timeframes and in accordance with workplace procedures |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks assessed and control measures identified in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permits are obtained, as required, to access and perform work in accordance with job requirements and/or workplace procedures |
|  |  | 1.7 | Resources including machinery, equipment and personal protective equipment (PPE) required for the job are obtained and confirmed in working order in accordance with workplace procedures |
|  |  | 1.8 | Relevant person responsible for first aid and related work safety procedures at the worksite is confirmed in accordance with workplace procedures to ensure safety measures are followed in the instance of an incident |
|  |  | 1.9 | Liaison and communication issues with appropriate personnel, authorities, clients and land owners are resolved to carry out work, where necessary |
|  |  | 1.10 | Worksite is prepared to minimise risk, damage to property, commerce and individuals in accordance with workplace procedures |
|  |  | 1.11 | Personnel participating in work are fully briefed and responsibilities confirmed in accordance with workplace procedures |
|  |  | 1.12 | Traffic management is checked as implemented in accordance with workplace procedures |
|  |  | 1.13 | Pre-operational checks are undertaken to confirm safe and correct operation of machinery and equipment for safe use near live electrical apparatus in accordance with job requirements and workplace procedures |
| 2 | Carry out the operation of machinery and equipment near live electrical apparatus | 2.1 | WHS/OHS, sustainable energy and environmental principles and practices are monitored and followed to reduce incidents of accidents in accordance with workplace procedures |
|  |  | 2.2 | Appropriate machinery and equipment are selected to perform job requirements |
|  |  | 2.3 | Machinery and equipment, techniques and practices are followed in accordance with manufacturer instructions and job requirements |
|  |  | 2.4 | Machinery and equipment are used near live electrical apparatus in agreed timeframes, to quality standards and with minimum waste |
|  |  | 2.5 | Hazard warnings and safety signs are recognised and hazards and identified WHS/OHS risks are reported to immediate appropriate personnel for directions in accordance with workplace procedures |
|  |  | 2.6 | Machinery and equipment are safely operated near live electrical apparatus in accordance with work schedule, job requirements, given instructions and workplace procedures |
|  |  | 2.7 | Unplanned events are referred to relevant authorised personnel for directions in accordance with workplace procedures |
|  |  | 2.8 | Problems associated with the operation of machinery and equipment near live electrical apparatus are attended to using acquired known solutions and skills related to routine procedures to ensure work instructions and workplace procedures are met |
|  |  | 2.9 | Known solutions to a variety of problems are applied using acquired knowledge and associated skills |
|  |  | 2.10 | Quality checks of work are undertaken in accordance with industry standards and workplace procedures |
| 3 | Complete the operation of machinery and equipment near live electrical apparatus | 3.1 | Completed work is checked against work schedule, construction plans and drawings for compliance and anomalies are reported in accordance with workplace procedures |
|  |  | 3.2 | WHS/OHS and environmental incidents are reported in accordance with workplace procedures, as required |
|  |  | 3.3 | Worksite is cleaned and confirmed safe in accordance with workplace procedures |
|  |  | 3.4 | Machinery, equipment, tools and surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.5 | Relevant person/s is notified of work completion in accordance with workplace procedures |
|  |  | 3.6 | Post-operational checks, minor maintenance and/or relevant documentation of machinery and equipment are conducted in accordance with requirements |
|  |  | 3.7 | Relevant work permits are signed off in accordance with workplace procedures |
|  |  | 3.8 | Work records, reports and/or documentation are completed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDREL17A Operate asset inspection machinery and equipment near live electrical apparatus.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7

Assessment Requirements for UETTDREL17 Operate asset inspection machinery and equipment near live electrical apparatus

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices confirming operational knowledge associated with the operation of control machinery and equipment near live electrical apparatus in all of the following: recognition of aerial voltage systems identification of low voltage (LV) aerial circuits identification of high voltage (HV) aerial circuits safe approach distance so defined by relevant authorities use of technical standards, acts, regulations, codes /guidelines and established/enterprise/asset owner’s procedures system control – information required and functions vicinity permit – information required and functions confirm environmental principals and procedures confirming safe practices associated with the operation of control machinery and equipment near live electrical apparatus in all of the following: WHS/OHS safety practices and procedures electric shock and resuscitation events constituting an incident procedures in the event of an incident methods of identifying hazards risk assessment procedures selection of the best position for monitoring and controlling work constant analysis decision making relevant to the safety of the work, taking into account prevailing site conditions (lay of the land) and on-going weather conditions confirming the safe operation of machinery and equipment in varying conditions and weather near live electrical apparatus and undertaking pre- and post-operational checks and inspections in at least four (4) of the following: chain saws brush cutters power pruners powered drills *augers air compressors generators jack hammers demolition saws measuring devices extendable mounted cameras (* must do) dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

assets inspection safety requirements, including: the legal requirements covering WHS/OHS in the workplace requirements for personal safety in the workplace standards, codes, legislation, supply authority regulations and/or enterprise requirements associated with safe use of enterprise vehicles working safely with electrical tools and equipment near electrical apparatus identification of hazards and risks associated with working on or near live electrical apparatus use and application of personal protective equipment (PPE) safe work practices and procedures asset inspection machinery and equipment, including: reading and following information on standard operating procedures (SOPs) following verbal instructions selecting machinery and equipment appropriate to the task identifying machinery and equipment defects maintaining machinery and equipment using appropriate techniques safe use of enterprise vehicles operation of machinery and equipment - pre-operational checks, safe use of machinery and equipment, safe transporting and storage procedures according to manufacturer requirements/standard operating procedures adjustments/alignments to a range of machinery and equipment common faults and/or defects found in a range of machinery and equipment procedures for marking unsafe or faulty machinery and equipment for repair procedures for the safe use of hand and power tools routine maintenance requirements of a range of machinery, equipment and hand and power tools storage location and procedures for a range of machinery and equipment hazards/control measures associated with the use of a range machinery and equipment.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7