# UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs

Release: 1

UETTDRIS62 Implement and monitor the power system organisational WHS/OHS policies, procedures and programs

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit involves the skills and knowledge required to implement and monitor the power system organisational work health and safety (WHS)/occupational health and safety (OHS) policies, procedures and programs in the electricity supply industry (ESI). It includes participative arrangements for management of organisational WHS/OHS policies procedures, programs and issues. It also includes disseminating information on hazards and risk assessments to meet WHS/OHS standards; collating work group input; and, implementing workplace procedures for resolving WHS/OHS issues. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may apply under State and Territory legislative and regulatory licensing requirement which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Common Unit Group UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UETTDREL16 Working safely near live electrical apparatus

# Competency Field

Industry Specific Cross Discipline

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to implement and monitor organisational WHS/OHS policies, procedures and programs | 1.1 | Relevant workplace documentation is identified, analysed and work preparation required for planning and coordination determined |
|  |  | 1.2 | Relevant requirements and workplace procedures are communicated to all personnel and identified for all worksites |
|  |  | 1.3 | Hazards are identified, work health and safety (WHS)/occupational health and safety (OHS) risks assessed and control measures are prioritised, implemented and monitored to ensure work safe systems are followed in accordance with workplace procedures |
|  |  | 1.4 | Work is prioritised and sequenced for efficient and effective outcome following consultation with relevant personnel for completion within agreed timeframes, to standard and in accordance with workplace procedures |
|  |  | 1.5 | Risk control measures are identified, prioritised, implemented and evaluated in accordance with work schedule |
|  |  | 1.6 | Relevant work permits are confirmed and signed in accordance with requirements and/or workplace procedures |
|  |  | 1.7 | Resources, personnel, equipment, tools and personal protective equipment (PPE) required for the job are identified, scheduled, coordinated and confirmed in safe and technical working order |
|  |  | 1.8 | Potential issues in communicating with relevant person/s, authorities, clients and land owners are identified, resolved and work activities planned and coordinated |
|  |  | 1.9 | Worksite is prepared in accordance with the work schedule to minimise WHS/OHS risk, damage to property, commerce and individuals in accordance with workplace procedures |
|  |  | 1.10 | Personnel and contractors participating in work are fully briefed and responsibilities authorised and coordinated in accordance with workplace procedures |
|  |  | 1.11 | Traffic management plan is confirmed as being applied in accordance with workplace procedure |
| 2 | Carry out the implementation and monitoring of organisational WHS/OHS policies, procedures and programs | 2.1 | WHS/OHS and sustainable energy principles and practices are implemented and monitored to reduce workplace incidents and minimise waste in accordance with job requirements and workplace procedures |
|  |  | 2.2 | Relevant worksite personnel are confirmed current in first aid and rescue-related work in accordance with job requirements and workplace procedures |
|  |  | 2.3 | Lifting, climbing, working in confined spaces, working at heights, using power tools and equipment techniques and practices are followed safely in accordance with requirements and workplace procedures |
|  |  | 2.4 | Hazard warnings and safety signs are recognised, hazards assessed, WHS/OHS risk control measures implemented and monitored and/or appropriate authorities consulted, as required, in accordance with requirements and workplace procedures |
|  |  | 2.5 | Remedial actions are taken to overcome shortfalls encountered in the work schedule in accordance with job requirements and workplace procedures |
|  |  | 2.6 | Participative arrangements for the systematic management of WHS/OHS policies, procedures, programs and issues are implemented and monitored in accordance with work schedule, job requirements and workplace procedures |
|  |  | 2.7 | Participative arrangements for the systematic management of WHS/OHS policies, procedures, programs and issues are implemented and monitored to ensure completion in agreed timeframe, to quality standards with a minimum of waste in accordance with job requirements |
|  |  | 2.8 | Solutions to non-routine problems are identified and applied in accordance with requirements |
|  |  | 2.9 | Quality of work checks are undertaken in accordance with job requirements and workplace procedures and to a community/industry standard |
| 3 | Complete implementation and monitoring of organisational WHS/OHS policies, procedures and programs | 3.1 | Work is checked against work schedule for conformance with job requirements, anomalies reported and solutions identified in accordance with workplace procedures |
|  |  | 3.2 | Accidents, incidents and/or injuries are reported in accordance with requirements and workplace procedures |
|  |  | 3.3 | Worksite is rehabilitated, cleaned up and confirmed safe in accordance with workplace procedures |
|  |  | 3.4 | Tools, equipment and surplus resources and materials are cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.5 | Relevant work permit/s are signed off, work completed/returned to service and client/customer advised in accordance with job requirements |
|  |  | 3.6 | Work completion records, reports and information are confirmed, processed and relevant person/s notified |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRIS62A Implement and monitor the power system organisational OHS policies, procedures and programs.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7