# UETTDRIS99 Test and verify distribution remote area installations

Release: 1

UETTDRIS99 Test and verify distribution remote area installations

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit involves the skills and knowledge required to test and verify distribution remote area installations in the electricity supply industry (ESI). It includes inspection and testing to verify whether a distribution remote area installation is safe and complies with all requirements. It also includes working safely, visual inspections, mandatory, optional and functional test procedures, identifying non-compliance defects and mandatory reporting requirements. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may apply under State and Territory legislative and regulatory licensing requirement which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Common Unit Group UEENEEE101A Apply Occupational Health and Safety regulations, codes and practices in the workplace UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE103A Solve problems in ELV single path circuits UEENEEE105A Fix and secure electrotechnology equipment UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEE137A Document and apply measures to control OHS risks associated with electrotechnology work UEENEEK101A Maintain safety and tidiness of remote area power supply systems UEENEEK102A Work safely with remote area power supply systems UEENEEK116A Maintain and repair remote area power generation facilities UEENEEK120A Maintain operation of remote area power generation plant UETTDREL11 Apply sustainable energy and environmental procedures UETTDREL16 Working safely near live electrical apparatus UETTDRIS32 Solve electrical problems in remote community network apparatus UETTDRIS33 Solve electrical problems in remote community network systems

# Competency Field

Industry Specific Cross Discipline

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to visually inspect, test and verify remote area distribution installation | 1.1 | Work schedules, construction plans, drawings, workplace procedures and material lists are received and confirmed |
|  |  | 1.2 | Job requirements and workplace procedures are identified and communicated with relevant personnel |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and workplace procedures for accessing, testing and verification of overhead distribution installations are obtained and confirmed for the purposes of the work to be performed |
|  |  | 1.4 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with relevant personnel and in accordance with workplace procedures |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks assessed and control measures identified in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permits are obtained, understood and signed in accordance with workplace procedures |
|  |  | 1.7 | Plant, equipment, tools and personal protective equipment (PPE) required for work are identified, obtained and confirmed in working order |
|  |  | 1.8 | Specialist test and measurement equipment for testing and verification of overhead distribution installations are obtained, confirmed in working order and calibrated in accordance with workplace procedures |
|  |  | 1.9 | Worksite is prepared to minimise risk, damage to property, commerce and individuals in accordance with workplace procedures |
|  |  | 1.10 | Traffic management plan is confirmed as being applied in accordance with workplace procedures |
| 2 | Carry out visual inspection, testing and verification of remote area distribution installation | 2.1 | WHS/OHS, sustainable energy and environmental principles and practices are monitored and followed to reduce incidents in accordance with workplace procedures |
|  |  | 2.2 | Requirements for lifting and/or climbing and/or working at heights and the use of power tools/equipment are followed in accordance with workplace procedures |
|  |  | 2.3 | Testing and verification of overhead distribution installations are completed in agreed timeframes, to quality standards and with minimum waste in accordance with workplace procedures |
|  |  | 2.4 | Remote area distribution installations and associated hardware are visually inspected and confirmed as positioned, secured and terminated/connected in accordance with job requirements and workplace procedures |
|  |  | 2.5 | Energised tests and/or measurements, as required to verify remote area distribution installations, are determined in accordance with job requirements and workplace procedures |
|  |  | 2.6 | Remote area distribution installations are checked for suitability and compliance with workplace procedures and relevant electrical network supply industry standards |
|  |  | 2.7 | Remote area distribution installation protection methods and devices are validated as meeting workplace procedures and relevant electrical distribution protection industry standards |
|  |  | 2.8 | Remote area distribution installation switchgear is validated as being appropriately rated and meeting functional requirements of workplace procedures and relevant electrical distribution network protection industry standards |
|  |  | 2.9 | Remote area distribution installations earthing system and multiple earth neutral (MEN) system components are verified as correctly installed and conforming to workplace procedures and relevant electrical distribution network standards |
|  |  | 2.10 | Mandatory testing of the distribution network system phasing, phase rotation, polarity, voltage and neutral conductors is undertaken and conforms to network construction standards |
|  |  | 2.11 | Quality checks of work are undertaken in accordance with workplace procedures |
| 3 | Report inspection and test findings | 3.1 | WHS/OHS risk control work completion measures and procedures are followed |
|  |  | 3.2 | Completed work is checked against work plan, construction plans and drawings for compliance and anomalies are reported in accordance with workplace procedures |
|  |  | 3.3 | WHS/OHS and environmental incidents are reported in accordance with workplace procedures, as required |
|  |  | 3.4 | Worksite is rehabilitated, cleaned up and made safe in accordance with workplace procedures |
|  |  | 3.5 | Non-compliance defects are identified, corrected and/or reported in accordance with workplace procedures |
|  |  | 3.6 | Recommendations for rectifying defects are made in accordance with workplace procedures |
|  |  | 3.7 | Mandatory documentation is completed in accordance with workplace procedures |
|  |  | 3.8 | Tools, equipment and surplus resources are, where appropriate, cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.9 | Relevant work permits are signed off and electrical equipment (network infrastructure) returned to service in accordance with workplace procedures |
|  |  | 3.10 | Work records, reports and/or documentation are completed in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRIS99A Test and Verify Distribution Remote Area Installations.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7