# UETTDRRF08 Perform EWP controlled descent escape

Release: 2

UETTDRRF08 Perform EWP controlled descent escape

# Modification History

Release 2. Amendment to the Performance Evidence. Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit covers the performance of elevated work platform (EWP) controlled descent escape procedures in the workplace. It specifies the mandatory requirements for self-rescue from a raised EWP and how they apply in the context of transmission, distribution or rail work functions. It encompasses responsibilities for health, safety and risk management processes at all operative levels and adherence to safety practices as part of the normal way of doing work. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace subject to regulations for undertaking of electrical work. Other conditions may apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

There are no prerequisite competencies to this unit.

# Competency Field

Refresher Training

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to perform EWP controlled descent escape | 1.1 | Instruction in hazards and risk control measures for specific work areas and work activities are identified and obtained |
|  |  | 1.2 | Tools and emergency descent equipment are checked for safety and function to ensure accessibility according to established procedures |
| 2 | Carry out EWP controlled descent escape | 2.1 | Workplace procedures and work instructions for controlling risk are followed |
|  |  | 2.2 | Workplace procedures for evacuating an EWP basket employing emergency descent equipment are followed |
|  |  | 2.3 | The worksite is secured and entry controlled until appropriate authorities inspect and release the site |
| 3 | Complete the EWP controlled descent escape procedure | 3.1 | Processes for reporting accidents and/or incidents to authorised personnel are confirmed in accordance with established procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRRF08B Perform EWP controlled descent escape.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7