# Assessment Requirements for UETTDRRF09 Apply access procedures to work on or near electrical network infrastructure

Release: 2

Assessment Requirements for UETTDRRF09 Apply access procedures to work on or near electrical network infrastructure

# Modification History

Release 2. Amendment to the Performance Evidence. Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on one occasion and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures following workplace procedures for signing on to and off from an access authority/work permit.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

working on or near electrical network infrastructure encompassing: rules/codes of practice for work on or near electrical hazards and risk control measures for specific work areas and work activities documentation, roles, responsibilities and procedures for a permit to work system access authority/work permit document for a specific work activity according to established procedures safe approach distances (SAD) and safety measures applicable to the work activity according to established procedures sign on and sign off procedures for an access authority/work permit document workplace procedures to cancel or suspend an access authority/work permit document workplace communication procedures to confirm work is completed or suspended workplace procedures for signing on to a specific role/function identified on an access authority/work permit skills required to work on or near electrical network infrastructure encompassing: sign on and sign off an access authority/work permit document in accordance with workplace procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry for applying access procedures to work on or near electrical network infrastructures applicable documentation, including workplace procedures, relevant industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7