# UETTDRRF11 Testing of connections to low voltage electricity networks

Release: 2

UETTDRRF11 Testing of connections to low voltage electricity networks

# Modification History

Release 2. Amendment to the Performance Evidence. Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Application

This unit covers the performance of testing of connections to low voltage (LV) electricity networks according to AS 4741-2010 Testing of connections to electricity networks. It specifies the mandatory requirements for testing when connecting and/or reconnecting a customer’s installation to an electricity supply network. It encompasses the minimum principles and tests required to confirm that the LV supply connections are correct, The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace subject to regulations for undertaking of electrical work. Other conditions may apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

There are no prerequisite competencies to this unit.

# Competency Field

Refresher Training

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to perform test procedures | 1.1 | Instruction in hazards and risk control measures for specific work functions and work areas are identified and obtained |
|  |  | 1.2 | Tools and equipment needed for testing are checked for inspection date, safety and functionality |
| 2 | Carry out test procedures | 2.1 | Workplace procedures and work instructions for controlling risk are followed |
|  |  | 2.2 | Test procedures are conducted in accordance with AS 4741-2010 Testing of connections to electricity networks |
|  |  | 2.3 | Enterprise procedures for corrective actions are followed |
|  |  | 2.4 | Test results are documented in accordance with established enterprise procedures |
| 3 | Complete the test procedures | 3.1 | Processes for reporting to authorised personnel are confirmed in accordance with established procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UETTDRRF11A Testing of connections to low voltage electricity networks.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7