# Assessment Requirements for UETTDRSB26 Install high current d.c. equipment and switchgear

Release: 1

Assessment Requirements for UETTDRSB26 Install high current d.c. equipment and switchgear

# Modification History

Release 1. This is the first release of this unit of competency in the UET Transmission, Distribution and Rail Sector Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including the use of risk control measures applying sustainable energy principles and practices using testing and measuring instruments including all of the following: 1500 V drop out tester ammeter low resistance high current megger tester multimeters voltmeter using drawings and diagrams including all of the following: building layouts cable block and schedule diagrams operating and substation arrangement diagrams wiring diagrams schematic drawings installing at least six (6) of the following types of equipment: d.c. circuit breakers rectifier transformers rectifiers isolators and links harmonic filters negative reactors energy dissipation resistors installing at least ten (10) of the following associated equipment: d.c. feeders surge arresters isolating links busbars cables cable supports pits and enclosures protection/alarm systems control wiring metering supervisory interface cabinets REC installing at least three (3) of the following types of protection: buchholz frame leakage overcurrent earth leakage reverse current delta I diode protection performing all of the following terminations and alignments: cable terminations busbar termination/joint alignment of electrical contacts of withdrawable equipment dealing with unplanned events on at least one (1) occasion.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

safe working on energised low voltage (LV) equipment, including: standards, codes, Commonwealth/state/territory/local government legislation, supply authority regulations and/or enterprise requirements safety precautions specific to working on or near energised LV conductors - safe working practices and procedures; identification of hazards; assessment and control of WHS/OHS risks; types, selection, maintenance and use of personal protective equipment (PPE) work on or near energised LV conductors - types and function of specialised tools, safe working practices when using specialised tools, methods of using specialised tools, safe procedures for work on panels and in cubicles on or near energised LV conductors, and release and rescue procedures for work on or near exposed energised LV conductors enterprise-specific policies and procedure instructions, including: responsibilities and duty of care of employer and employee relationship methods of obtaining the up-to-date information on enterprise policy and procedures rules and regulations induction into workplace - location of work area and storage area, timetable, uniform, personal wellbeing, housekeeping rules, emergency procedures and evacuation procedures techniques when dealing with others - working in teams, customer relation, and complaint and issues procedures overview of enterprise professional development - fire-fighting procedures, fatigue management, and training and competency development - understanding and promotion enterprise-specific WHS/OHS instructions, including: standards, codes, legislation, supply authority regulations and specific enterprise regulations pertaining to WHS/OHS policies and procedures methods of obtaining the up-to-date information on enterprise WHS/OHS policies and procedures specific enterprise PPE - type and application; where and when to be used; method of replacement; responsibility of maintenance, including cleaning, inspection and testing; and emergency response, rescue, evacuation and first aid procedures personal wellbeing – hygiene, fatigue/stress management and drugs/alcohol WHS/OHS training - induction training, specific hazard training, specific task or equipment training, emergency and evacuation training, and training as part of broader programs, such as equipment operation WHS/OHS records - audits; inspection reports; workplace health and environmental monitoring records; training and instruction records; manufacturer and supplier information, such as material safety data sheets (MSDS); registers; maintenance reports; workers compensation and rehabilitation records; and first aid/medical records enterprise-specific technical drawing and documents, including: types and application of enterprise-specific drawings and documents - electrical and electronic drawings, mechanical drawings, project charts, schedules, graphs, technical manuals and catalogues instructions/worksheets - types and application of enterprise-specific symbols and diagrams title box - description of parts and version control enterprise-specific switching diagrams and drawings, including: types and application of enterprise-specific switching drawings and documents - wiring and schematic diagrams and switching symbols, mechanical drawings dealing with switching operations, project charts, switching schedules, graphs, technical manuals and catalogues, and instructions/worksheets interpretation of different system switching diagrams - LV system switching diagrams, d.c. traction supply sectioning diagrams, high voltage (HV) transmission and distribution system symbols and feeder plans, and processes of updating switching diagrams enterprise-specific specialised tools, including: legislation, standards, codes, supply authority regulations and specific enterprise regulations pertaining to the use and care of specialised tools (voltage detectors, polarity testers and phase rotation) characteristics, capabilities and application of specialised tools for a particular job safety policies, procedures and precautions with regards to using, transporting and storing specialised tools selection methods for obtaining the correct specialised tool for the particular job, including during procurement, purchasing and/or hiring arrangements techniques in pre-use inspection on the serviceability of specialised tools techniques in the selection, use, maintenance, and care and storage of specialised tools identifying WHS/OHS hazards, and assessing and controlling risks associated with their use techniques for the safe use of specialised power tools enterprise-specific equipment installation procedures, including: standards, codes, legislation, supply authority regulations and/or enterprise requirements applicable to equipment installation requirements for the use of manuals, substation diagrams/plans and drawings types, characteristics and capabilities of HV substation equipment to be installed identification of components within the equipment to be installed and associated control housings use, characteristics and capabilities of specialised tools and equipment enterprise-specific policies and procedures for equipment to be installed control equipment and auxiliary relays, flags and alarms techniques in evaluating serviceability of equipment to be installed safety precautions when testing and measuring equipment to be installed - safe working practices and procedures; identification of hazards; assessment and control of WHS/OHS risks; types, selection, maintenance and use of PPE; responsibilities and protocols; and safe working clearances remote and local operating principles and conventions substation d.c. circuit breaker principles, including: standards, codes, Commonwealth/state/territory legislation, supply authority regulations and/or enterprise requirements associated with the d.c. circuit breakers types of d.c. circuit breakers- self and withdrawable types characteristics of d.c. circuit breakers- purpose of d.c. circuit breakers and application of d.c. circuit breakers principles of operation of different types of d.c. circuit breakers- arc expulsion versus arc containment, latched versus magnetically held, advantages and disadvantages of different types, fixed or withdrawable and protection/diagnostic technology principles of operation of high-speed d.c. circuit breakers– characteristics and calibration how d.c. circuit breakers are designated - feeder, rectifier, EDR, bus-section and negative breakers, auto-reclose or non-auto-reclose type type and function of d.c. circuit breaker peripheral components - delta I relays, busbar, control wiring, trunk and associated plug/receptacle identification, characteristics, application and care of d.c. circuit breaker components - holding coils, closing coils, contactors, resistors, arc chutes, blow-out coils, arcing contacts, main contacts, braids, moving arm, pole face, arcing horns, electronic cards, dashpots, fingers, diode strings, fuses, insulators, latching mechanisms, motors, wiring and relays characteristics, application and care of hand and specialised tools used on d.c. circuit breakers - combination/multigrips/long nose pliers, side cutters, screwdrivers, wire strippers, crimpers, knife, hacksaw, hammers, mallets, levels, tape measures, spanners, T-wrench, pistol drills, battery drills, heat gun, de-soldering tools and soldering iron/torches, Allen keys, socket spanners, gauges, feeler gauges and specialist tools supplied by the manufacturer characteristics, application and care of test and measurement instruments used on d.c. CB’s - multimeters, tong testers, ammeters, voltmeters, ohmmeters, test lamps, high and low voltage insulation resistance/ continuity testers, earth resistance tester, ductor and drop-out test sets installation of substation d.c. circuit breakers and associated equipment, including: standards, codes, legislation, supply authority regulations and/or enterprise requirements pertaining to the installation of substation d.c. circuit breakers safety precautions when installing substation d.c. circuit breakers - safe operation procedures; WH/?OHS hazards and precautions; identification of hazards; assessing and controlling risks; types, selection, maintenance and uses of PPE; permit to work systems and isolation procedures; safe working practices when using specialised equipment; and emergency response and rescue, including first aid use and interpretation of technical manuals and diagrams - manufacturer/enterprise manuals; block, wiring and schematic diagrams; 1500 V sectioning diagrams; substation HV operating diagrams; substation arrangement diagrams and layout drawings; technical/manufacturer specifications; and maintenance instructions/schedules techniques in the safe installation of d.c. circuit breakers CB’s LV substation switching principles including: standards, codes, legislation, supply authority regulations and/or enterprise requirements applicable to LV substation switching requirements for the use of manuals, system diagrams/plans and drawings - types, characteristics and capabilities of LV electrical equipment to be switched; use, characteristics and capabilities of specialised tools and testing equipment role and responsibilities of the LV switching operator operational forms, access authorities and permits associated with LV switching - types of operational forms, access authorities and permits, purpose and procedures for operational forms, and access authorities and permits use, care and operation of equipment associated with LV substation switching LV switchgear – types, categories, application and operating capabilities operation of LV substation switching or indicating devices operation of protection systems and substation equipment restrictions pertaining to LV switching equipment earthing LV electrical apparatus practices and procedures for access LV switching techniques restrictions pertaining to enterprise-specific procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated conditions involving realistic and authentic activities that replicate operational workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

UET Training Package Companion Volume Implementation Guide is found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=229bace1-b7bc-4653-9300-dffb13ecfad7